| PRR Number | 344PRR | PRR Title | Bid Clearing |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve. |  |
| Recommended Effective Date |  | August 1, 2002 |  |
| Summary of Impact Analysis |  | None, the system impact is included in the implementation of PIPs 147 and 148. |  |
| Benefit |  | Matches Protocol with operating system capability becoming effective in mid-July. |  |
| PRR Background |  | ## Currently unused bids are cleared; this will no longer be the case with the implementation of PIPs 147 and 148. Bids will be carried over to the next market if there is one. |  |
| Technical Advisory Committee Recommendation |  | TAC recommends approval as recommended by PRS. |  |
| ###### Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as amended by the ERCOT comments. |  |

Recommended Language

### 4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) removed by the QSE.

----------------------

The existing version of this chart suggests that ERCOT should use bids available 30 minutes prior to the notice.  For the RPRS chart in Section 4.5.6, we need to adjust the chart to agree with the words in Section 4.5.7 that say ERCOT will use the bids available at the time the notice to procure is given.

4.5.6	ERCOT Notice of Need to Procure Replacement Reserve Service Resources

| RPRS Procurement Process | QSE Responsibility: | ERCOT Responsibility: |
| --- | --- | --- |
| Time X |  | - Identify need for additional RPRS - Notify market of intent to purchase RPRS at time X+60 minutes |
| Time X plus 30 minutes | - QSEs have the opportunity to update their Balanced Schedules | - Review updated Balanced Schedules - Validate schedules and notify affected Qualified Scheduling Entities (QSEs) of any invalid or mismatched schedules. |
| Time X plus 45 minutes | - Resubmit corrected schedules. | - Re-evaluate the need for RPRS based on the updated AP schedules |
| Time X plus 60 minutes |  | - Purchase needed RPRS using bids received at time X |

-------------------------

The existing version of this chart also suggests that ERCOT should use bids available 30 minutes prior to the notice.  For the Ancillary Services chart in Section 4.5.8, we need to adjust the chart to agree with the words in Section 4.5.9 that say ERCOT will use the bids available at the time the notice to procure is given.

4.5.8	ERCOT Notice of Need to Procure Additional Ancillary Services

| Additional AS Procurement Process | QSE Responsibility: | ERCOT Responsibility: |
| --- | --- | --- |
| Time X |  | - Identify need for additional RRS, NSRS and/or RGS - Notify market of intent to purchase RRS, NSRS, and/or RGS at time X+60 minutes - Allocate additional AS responsibility to LSEs and aggregate to the QSE level |
| Time X plus 30 minutes | - QSEs have the opportunity to update their Balanced Schedules, including additional Self-Arranged AS | - Review updated Balanced Schedules - Validate schedules and notify affected Qualified Scheduling Entities (QSEs) of any invalid or mismatched schedules. |
| Time X plus 45 minutes | - Resubmit corrected schedules. | - Determine the amount of RRS, NSRS and/or RGS to be procured based on the updated AP schedules |
| Time X plus 60 minutes |  | - Purchase needed RRS, NSRS, and/or RGS using bids received at time X |

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Revised its original proposal. |