| PRR Number | 346PRR | PRR Title | MVA Data Calculation Responsibility |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | October 1, 2002 |  |
| Summary of Impact Analysis |  | Pending ERCOT analysis. |  |
| Benefit |  | Make the Protocols current with market operations. |  |
| PRR Background |  | MVA data is calculated from MW and MVAR information that is already provided. Current ICCP Network Interface Control Document Data Object Definitions do not include MVA. TSPs, normally, do not operate voltage regulators. This should be the QSE’s responsibility. The term “Substation” is not an ERCOT Protocol defined term. By changing the term “Substation” to “Transmission Facility”, the data request is clear. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as submitted. |  |
| ###### TAC Recommendation |  | TAC recommends approval as recommended by PRS. |  |

Recommended Language

Note :  Changes in bold

Items 12.4.4.1.1 (1) (b) and (f) refer to MVA power operation data

Item 12.4.4.1.1 (1) (c) refers to voltage regulator data

Item 12.4.4.1.1 (1) (e) refers to “substation voltages” data

##### 12.4.4.1.1 QSE, Resource and TDSP Responsibilities

QSEs, Resources and TDSPs are required to provide power operation data to ERCOT including, but not limited to:

- Real time generation data from QSEs;

- Planned Outage information from Resources;

- Network data used by any TDSP’s control center, including:

  - Breaker and line switch status of all ERCOT Transmission Grid devices;

  - Line flow MVA, MW and MVAR;

- Voltage regulator;

  - Breaker, switches connected to all Resources;

  - Substation Transmission Facility Voltages; and

  - Transformer MVA, MW, and MVAR, and TAP.

NOTE:  This change would require additional changes related to proposed integration of “Communicating with ERCOT” document and Operating Guide Appendix C.  NDSWG has been advised and has shown support for this PRR

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |