## Ten Day
ERCOT - BUL program
Bid
| 800 |  |  |  |  | Assume notice given at 1715
ALMPB Average Load Two Hr Prior to Notice |  |  |  | AILM Load
Days Prior | Time |  |  | Sum of
| 1515-1600 | 1615-1700 | Hr Avg | 1730-1815 | AILM AVG
1 | 2360 | 2450 | 2405 | 2500
2 | 2346 | 2400 | 2373 | 2550
3 | 2030 | 2098 | 2064 | 2225 | Low Value
4 | 2275 | 2439 | 2357 | 2350
5 | 2311 | 2389 | 2350 | 2430
6 | 2298 | 2201 | 2249.5 | 2550
7 | 2500 | 2629 | 2564.5 | 2650 | High Value
8 | 2226 | 2280 | 2253 | 2400
9 | 2310 | 2349 | 2329.5 | 2450
10 | 2343 | 2433 | 2388 | 2520
|  | ALMP | 2333.4 |  | 2468.8
*ALMPB does not exclude high and low values |  |  |  |  | AILM Avg excludes the high and low values
QSE submits a bid to provide 800 kW of BUL capacity. The ISO instructs the QSE to deploy its BUL bid for the fifteen minute interval ending 1730. First, the AIML (CBL) is determined based on the ten-days average prior to the event excluding the low and high event intervals. Next, the Adjusted AIML is developed by applying the Ratio Factor, BRAT, times the AIML. The BRAT is the ratio of the average of the eight interval prior to notice, AMLP, on the day of the event to the average for the same eight intervals, ALMPB, from the same prior ten-days used to develop AIML.

## Examples
Case # One - Weather hotter than prior ten-days |  |  |  | Case # Two - Weather is milder than the prior ten-days
or customer is operating at a higher level |  |  |  | or the customer is operating at reduced load levels
|  | AMLP |  |  |  | AMLP
Intervals |  | Load |  | Intervals |  | Load
1515-1600 |  | 2685.1 |  | 1515-1600 |  | 2012.6
1615-1700 |  | 2725.1 |  | 1615-1700 |  | 1943.8
Hourly Average |  | 2705.1 |  | Hourly Average |  | 1978.2
BRAT |  |  |  | BRAT
| AMLP | AMLPB | BRAT |  | AMLP | AMLPB | BRAT
| 2705.1 | 2333.4 | 1.159 |  | 1978.2 | 2333.4 | 0.848
Adjusted AIML (Avg AIML*BRAT) |  |  |  | Adjusted AIML (Avg AIML*BRAT)
| AIML | BRAT | Adj AIML |  | AIML | BRAT | Adj AIML
| 2468.8 | 1.159 | 2861.3 |  | 2468.8 | 0.848 | 2093.5
BMR - Actual load |  |  |  | BMR - Actual load
Interval |  | 1730 |  | Interval |  | 1730
BMR |  | 447.8 |  | BMR |  | 362.5
Capacity provided based on Adjusted AIML |  |  |  | Capacity provided based on Adjusted AIML |  |  |  | BRAT factor used
Interval |  | 1730 |  | Interval |  | 1730
Capacity |  | 1070.1 | BRAT*AIML-(4*BMR) | Capacity |  | 643.5 | BRAT*AIML-(4*BMR)
BUL Capacity equals the minimum bid or provided |  |  |  | BUL Capacity equals the minimum bid or provided
Interval |  | 1730 |  | Interval |  | 1730
Capacity |  | 800 |  | Capacity |  | 643.5
Capacity provided based on AIML |  |  |  | Capacity provided based on AIML |  |  |  | BRAT factor not used
Interval |  | 1730 |  | Interval |  | 1730
Capacity |  | 677.6 | AIML-(4*BMR) | Capacity |  | 1018.8 | AIML-(4*BMR)
BUL Capacity equals the minimum bid or provided |  |  |  | BUL Capacity equals the minimum bid or provided
Interval |  | 1730 |  | Interval |  | 1730
Capacity |  | 677.6 |  | Capacity |  | 800