| OGRR Number | 123-OGRR | OGRR Title | Increase Maximum UFR Percentage for RRS from 25 to 35% |
| --- | --- | --- | --- |
| Status | Posted |
| Operating Guide Section Requiring Revision | 2.6.2.4 |
| Protocol Section Requiring Revision, if any. | None |
| Requested Resolution | Urgent |
| Revision Description | Increases amount of interruptible load on high-set under-frequency relays (UFR) participation Resources can provide as Responsive Reserve Service (RRS) from 25 to 35%. |
| Reason for Revision | At its December 5, 2002 meeting, TAC approved the increase of the Responsive Reserve Service percentage provided by UFR from 25 to 35%. |
| Sponsor |
| Name | Rick Keetch |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | P.O. Box 4567 |
| Phone Number | 713-207-2526 |
| Fax Number | 713-207-0098 |
| Timeline |
| Date Received | 12/11/2002 |
| Date Posted | 12/11/2002 |
| Comments Due | 12/19/2002 |
| ROS Review Date | 12/10/2002 |
| ROS Recommendation | Approve |
| Other Subcommittee Consideration |  |
| TAC Consideration | 01/09/2003 |

Proposed Operating Guide Language Revision

#### 2.6.2.4      Distribution Of Responsive Reserve

Reference Protocols Section 6.5.4.8

The amount of Resources on high-set under-frequency relays providing RRS will be limited as prescribed in the Operating Guides.

The Interruptible Responsive Reserve included in ERCOT total Responsive Reserve Obligation shall not exceed 35%.

| Other TAC Subcommittee Review |
| --- |
| PRS Review Date |  |
| PRS Protocols Impact Decision |  |
| WMS Review Date |  |
| RMS Review Date |  |
| TAC Action |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ERCOT Board Action |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| Appeal |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |