| PRR Number | 379PRR | PRR Title | Waiver Recipients Must Designate an LSE and BLT Waiver |
| --- | --- | --- | --- |
| Status | Posted |
| Protocol Section Requiring Revision | 16.5.1.1 New Section 16.5.1.2 |
| Requested Resolution | Normal |
| Revision Description | Clarify that resources receiving a waiver from signing the resource agreement must designate a load serving entity to serve their auxiliary load when the generator is not operating. Add a new section giving ERCOT the ability to grant a waiver for Block Load Transfer point Resources. It unnecessary to have BLT Resources execute such agreement which would essentially require them to operate in accordance with the protocols given that, when these resources are in use, they will NOT be connected to the ERCOT System. This will effectively provide such Resources the same Waiver provided to Federally Owned Hydroelectric resources, which are connected to the ERCOT System when they are operating. |
| Reason for Revision | Clarify that all loads, including those associated resources which have been granted a waiver by ERCOT, must have an associated load serving entity. Clarify that BLT Resources may be granted a waiver in a manner similar to that granted to federally owned hydro facilities. |
| Timeline |
| Date Received | 12/30/02 |
| Date Posted | 01/03/03 |
| PRS Review Date |  |
| PRS Recommendation |  |

Proposed Protocol Language Revision

#### 16.5.1.1  Waiver for Federal Hydroelectric Facilities

ERCOT may grant a waiver to any federally owned hydroelectric Resource facility, within the ERCOT system, from fulfilling the requirements in Section 16.5 as they pertain to the submission of a Resource application and the execution of a Resource Agreement. ERCOT may grant such waiver after the federally owned hydroelectric Resource facility provides ERCOT with the following:

(1)	All information necessary to meet the Resource registration requirements as provided in Section 16; and

- The designation of a QSE for the Resource.

- A Load Serving Entity must be assigned to the ESID associated with any load or net load, if the Resource is net metered, which will be connected to the ERCOT System.  Such load, if retail load, shall be subject to all applicable rules and procedures, including rules concerning disconnection and POLR service, applicable to retail points of delivery.

#### 16.5.1.2 Waiver for Block Load Transfer Resources

ERCOT may grant a waiver to any BLT Resource from fulfilling the requirements in Section 16.5 as they pertain to the submission of a Resource application and the execution of a Resource Agreement. ERCOT may grant such waiver after the BLT Resource provides ERCOT with the following:

- All applicable information necessary to meet the Resource registration requirements as provided in Section 16; and

- The designation of a QSE for the BLT Resource.

| Sponsor |
| --- |
| Name | Richard Ross |
| E-mail Address | rross@aep.com |
| Company | AEP |
| Company Address | 2488 E 81st Street Tulsa, OK 74137 |
| Phone Number | 918-493-9544 |
| Fax Number | 866-947-1796 |
| ERCOT Impact Analysis |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| TAC Action |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ERCOT Board Action |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| Appeal |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |