| OGRR Number | 123-OGRR | OGRR Title | Increase Maximum UFR Percentage for RRS from 25 to 35% |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Operating Guide Section Requiring Revision |  | 2.6.2.4 |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Requested Resolution |  | ## Urgent |  |
| Revision Description |  | Increases amount of interruptible load on high-set under-frequency relays (UFR) participation Resources can provide as Responsive Reserve Service (RRS) from 25 to 35%. |  |
| ###### Reason for Revision |  | At its December 5, 2002 meeting, TAC approved the increase of the Responsive Reserve Service percentage provided by UFR from 25 to 35%. |  |
| ## Sponsor |  |  |  |
| Name |  | Rick Keetch |  |
| E-mail Address |  | rkeetch@reliant.com |  |
| Company |  | Reliant Energy |  |
| Company Address |  | P.O. Box 4567 |  |
| Phone Number |  | 713-207-2526 |  |
| Fax Number |  | 713-207-0098 |  |
| ## Timeline |  |  |  |
| Date Received |  | 12/11/2002 |  |
| Date Posted |  | 12/11/2002 |  |
| Comments Due |  | 12/19/2002 |  |
| ROS Review Date |  | 12/10/2002 |  |
| ROS Recommendation |  | Approve |  |
| Other Subcommittee Consideration |  |  |  |
| TAC Consideration |  | 01/09/2003 |  |

Proposed Operating Guide Language Revision

#### 2.6.2.4      Distribution Of Responsive Reserve

Reference Protocols Section 6.5.4.8

The amount of Resources on high-set under-frequency relays providing RRS will be limited as prescribed in the Operating Guides.

The Interruptible Responsive Reserve included in ERCOT total Responsive Reserve Obligation shall not exceed 35%.

| ## Other TAC Subcommittee Review |  |
| --- | --- |
| PRS Review Date |  |
| PRS Protocols Impact Decision |  |
| WMS Review Date |  |
| RMS Review Date |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |