| PRR Number | 370PRR | PRR Title | Process for Application and Approval of RMR Contracts |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Proposed Effective Date |  | Upon ERCOT Board of Directors approval. |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | Does not impact the ERCOT IT system. |  |
| Benefit |  | Outlines the RMR application process. |  |
| PRR Background |  | ## Formalizes the process for application and approval of RMR contracts, including requirement for notice, opportunity for comment, availability of data, and approval by ERCOT Board. These provisions reflect that RMR is essentially a regulated service provided to the market and therefore calls for greater market scrutiny than other services provided to ERCOT. The PRR is intended to maximize the information available to market participants, while minimizing the constraints on ERCOT’s ability to enter into RMR Agreements it determines are needed. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as amended by the ERCOT comments, addition of OPC’s affidavit language and language addressing Board acceptance. These revisions are recommended recognizing that the RMR Task Force is still reviewing the RMR / OOM issues and will be making a recommendations which may ultimately change the Protocols. |  |
| ###### Technical Advisory Committee Recommendation |  | TAC recommends approval of PRR370 as revised by TAC on January 9, 2003. |  |

Recommended Language

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

- Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of real-time SCE data that may be viewable on-site at ERCOT facilities;

- Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

- Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

- Resource Plans;

- Energy and Ancillary Service Schedules identifiable to a specific QSE;

- ERCOT Dispatch Instructions identifiable to a specific QSE;

- Raw and Adjusted Metered Load data (demand and energy) identifiable to a specific QSE;

- Settlement Statements identifiable to a specific QSE;

- Aggregated raw and Adjusted Metered Load data (demand and energy), and number of ESI-IDs identifiable to a specific LSE;

- Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

- Generating unit design and engineering data, with the exception of data provided pursuant to Subsection 1.3.1.2, Items Not Considered Protected Information;

- TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

- Renewable Energy Credit account balances;

- Credit Limits identifiable to a specific QSE;

- Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party, except for information provided to ERCOT in support of an RMR application according to Protocols Subsection 6.5.9, Reliability Must-Run Service;

- Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT; and

- Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements.

#### 1.3.1.2	Items Not Considered Protected Information

Notwithstanding the foregoing, the following items shall not be considered Protected Information even if so designated:

- Data comprising Load flow cases.  Such data may include estimated peak and off-peak demand of any Load;

- RMR Agreements, applicable portions of studies, reports and data, excluding information that is otherwise considered as Protected Information according to Protocols Subsection 1.3.1.1, used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability, and status of RMR Units and RMR Synchronous Condenser Units;

- Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Protocols Subsection 6.5.9, Reliability Must-Run Service;

- Black Start Agreement terms; and

- Any other information specifically designated in these Protocols as information to be posted to all Market Participants or to the public.

Protected Information that Receiving Party is permitted or required to Disclose or use under the Protocols or under an agreement between Receiving Party and a Disclosing Party does not cease to be regarded as Protected Information in all other circumstances not encompassed by these Protocols or such agreement by virtue of the permitted or required Disclosure or use under these Protocols or such agreement.

### 6.5.9	Reliability Must-Run Service

- Upon receiving notice from a Generation Resource owner as described in Protocols Subsection 6.5.9.1, Application and Approval of RMR Agreements, ERCOT may enter into RMR Agreements and begin procurement of RMR Service according to the provisions of this section.

- Before entering into an RMR Agreement, ERCOT shall assess alternatives to the proposed RMR Agreement.  The list of alternatives ERCOT should consider include (as reasonable for each type of reliability concern identified):

a)	redispatch/reconfiguration through operator instruction;

b)	remedial action plans;

c)	special protection schemes (SPS) initiated on unit trips or transmission outages; and

d)	load response alternatives once a suitable load response service is defined and available.

- ERCOT should make every attempt to minimize the use of RMR Facilities.  ERCOT shall have the right to dispatch an RMR Unit at any time for transmission reliability.  ERCOT will dispatch the unit as early as possible once conditions are identified that require the use of the RMR Facility, as defined in Section 4, Scheduling and the RMR Agreement.

- Each RMR Unit providing Reliability Must Run Service must meet technical requirements specified in Section 6.10 Ancillary Services Qualification, Testing and Performance Standards.

- RMR Service is a contracted service between the owners or operators of Generation Resources and ERCOT.  The term of any RMR Agreement shall not exceed 12 months.  An RMR Standard Agreement is included in Section 22, Protocols Agreements.

- A Generation Resource is eligible for RMR status based on criteria established by ERCOT indicating its operation is necessary to support ERCOT System reliability.  ERCOT shall post the criteria upon which it evaluates whether an RMR Unit meets the test of operational necessity to support ERCOT System reliability.  A Generation Entity can obtain RMR Agreements only where necessary to ensure ERCOT System reliability according to the Operating Guides.

- A Generation Resource cannot be compelled to enter into an RMR Agreement.  Owners of Generation Resources that are uneconomic to remain in service can voluntarily petition ERCOT for contracted RMR status by following the process in Subsection 6.5.9.1, Application and Approval of RMR Agreements.  ERCOT will be required to determine  whether the unit is necessary for system reliability based on the criteria set forth in Subsection 6.5.9(6).   If ERCOT determines that the nominated unit is required for system reliability, the Generation Entity may request ERCOT to allow operation as a Synchronous Condenser in place of RMR operation.  If Synchronous Condenser operation is offered by the Generation Entity, ERCOT shall accept Synchronous Condenser operation unless ERCOT reasonably determines that a Synchronous Condenser operation is not adequate to meet System Reliability according to the Operating Guides.

- ERCOT must acquire the entire capacity of each RMR Unit.

- RMR Units may not participate in the bilateral capacity and energy markets, including Self-Arranged Ancillary Services.  RMR Units may participate in the Balancing Energy market during times when ERCOT has requested the unit to run at less than full capacity.  ERCOT may dispatch an RMR Unit prior to procuring OOMC or OOME services on other units provided the time of use constraints of the RMR Unit are maintained.

- RMR Units are dispatched by ERCOT only when necessary to provide ERCOT System security, including any emergency situation.

- ERCOT will treat the undeployed energy from RMR Units like any other unit for purposes of Balancing Energy Service Up provided the time of use constraints of the RMR Unit are maintained.

- ERCOT will administer RMR Agreements in such a way as to minimize the use of RMR Units as much as practicable.  ERCOT will provide to all Market Participants all information relative to the use of RMR Units including energy deployed.

- The Generation Entity, which owns the RMR Unit may not use the RMR Unit for:

- Participation in the bilateral energy market;

- Self-provision of energy except for plant auxiliary Load obligations under the RMR Agreement;

- Provision of Self Arranged Ancillary Services to any Entity;

- Ancillary Services markets, except for incremental bids into the Balancing Energy Services market to the extent allowed in the RMR Agreement.

### 6.5.9.1	Application and Approval of RMR Agreements

(1)	Prior to entering an RMR Agreement, a Generation Resource owner must notify ERCOT in writing that a Generation Resource is uneconomic to remain in service and will be decommissioned, mothballed, or disconnected from the ERCOT Transmission Grid unless ERCOT enters into an RMR Agreement for the Generation Resource.  At least thirty (30) days before the expiration of an existing RMR Agreement, a Generation Resource owner wishing to renew an RMR Agreement must notify ERCOT in writing that the RMR Unit remains uneconomic and will be decommissioned, mothballed or disconnected from the ERCOT Transmission Grid upon expiration of the RMR Agreement.  An owner who asserts that a Generation Resource will be decommissioned, mothballed, or disconnected from the ERCOT Transmission Grid unless ERCOT enters into an RMR Agreement for the resource must complete the Application for RMR Status (found in Section 22, Standard Form RMR Agreement) and have it executed by an executive officer of the Generation Resource owner attesting to the facts supporting that claim. The application must state that the Generation Resource owner’s decision is definite, must describe the type of shutdown which will affect the  Resource (i.e., permanent retirement, mothballing, seasonal shutdown, etc.), the expected duration of the shutdown, and the time period which would be required to return the Generation Resource to service if the owner proceeds with the shutdown of the unit.

(2)	Upon receipt of an application for an RMR Agreement under Subsection 6.5.9.1(1), above, ERCOT shall provide electronic notice of the application to all Market Participants.

(3)	ERCOT shall post on the MIS unit-specific studies, reports, and data, by which ERCOT justifies entering into the RMR Agreement; and a copy of the Application for RMR Status.

(4)	Within fourteen (14) days, following the notice described in Subsection 6.5.9.1(2), above, unless otherwise notified by ERCOT that a shorter comment period is required.  Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability as described in Subsection 6.5.9(6), above.  ERCOT shall consider and post all submitted comments on the MIS.

(5)	After receiving an Application for RMR Status and conducting the analysis required by these Protocols and before the date on which it executes an RMR Agreement, ERCOT shall provide notice to the Board that the following steps have been completed with respect to any RMR Agreement signed by ERCOT:

a)	The Generation Resource owner provided a complete and timely Application for Reliability Must Run (RMR) Status including a sworn attestation supporting its claim of pending plant closure.

b)	ERCOT received all the data requested from applicant necessary to evaluate the need for and provisions of the RMR Agreement.  Such information was posted on the MIS by ERCOT as it becomes available to ERCOT and no later than prior to execution of the RMR Agreement;

c)	The recommended RMR Agreement is consistent with the ERCOT Protocols;

d)	ERCOT evaluated:

(i) 	The reasonable alternatives to a specific RMR Agreement that exist and compared the alternatives against the feasibility, cost and reliability impacts of the proposed RMR Agreement.

(ii) 	The timeframe in which ERCOT expects each unit to be needed for reliability.

(iii) 	The specific type/scope of reliability concerns identified for each potential RMR unit.

ADD TO SECTION 22, as ATTACHMENT I

Application for Reliability Must Run (RMR) Status

[Must be completed prior to consideration of any Generation Resource for RMR status.]

This application is for approval as a Reliability Must Run (RMR) provider by the Electric Reliability Council of Texas (ERCOT) in accordance with the ERCOT Protocols.  This form may be downloaded.  Information may be inserted electronically to expand the reply spaces as necessary.  An electronic copy of the completed application form will be accepted by ERCOT, however, an application will not be considered complete until the original application form, containing a wet signature, and five (5) copies of the application form including all attachments are received by ERCOT at the following address:  ERCOT, Attention: Market Participant Registration, 7620 Metro Center Drive, Austin, Texas 78744.  Submit electronically to: mpappl@ercot.com.

ERCOT may request additional information as reasonably necessary to support operations under the ERCOT Protocols.

Generation Entity

Type of entity

State of organization or incorporation

Generation Resource [plant and unit number(s)]

As of ___________ [date], Generation Entity will [check one]

[ ]	decommission and retire the Generation Resource.

[ ]	suspend operation of and mothball the Generation Resource for a period of not less than _________ months or disconnected from the ERCOT Transmission Grid for a period of not less than _________ months.  The estimated time to return the mothballed or disconnected Generation Resource to service is _________ months.

Generation Entity is willing to consider entering into an RMR Agreement covering the Generation Resource.

The Generation Resource is further described as follows:

Location: ___________ County, Texas

Number and type of generating unit(s)  ____

RMR Capacity in MW: _____

Power Factor Lagging

(i)	_____ P.F. (at Generator Main Leads)

(ii)	_____ P.F. (at high side of Main Power Transformer)

Power Factor Leading

(i)	_____ P.F. (at Generator Main Leads)

(ii)	_____ P.F. (at high side of Main Power Transformer)

Delivery Point: ____________________________

- Revenue Meter Location (Use Resource IDs): __________________________

Operational and Environmental Limitations (check and describe all that apply):

(a)	Operational

 Maximum annual hours of operation: _________________

 Maximum annual MWh: ___________________________

 Maximum annual starts: ___________________________

 Other: __________________________________________

(b)	Environmental

 Maximum annual NOx emissions: ____________________

 Maximum annual SO2 emissions: ____________________

 Other: __________________________________________

Excess Energy Payment Option (A or B)  ______

Proposed RMR Energy Multiplier: ____________

Proposed Fixed Transport, Swing and Imbalance Fee ($/MMBtu): ____________

Proposed Variable Cost Component ($ per MWh): $________

Proposed Start Price: $____________

I understand and agree that this application is not confidential and does not constitute Protected Information under the ERCOT Protocols.  This application is not intended to constitute an offer to enter into a binding agreement, but is intended only as an offer to negotiate the terms of such an agreement, in accordance with the ERCOT Protocols.

I acknowledge that, in entering into such an agreement, ERCOT would apply its standard process for calculating an Hourly Standby Price and would use for the Published Gas Price Index (GPI) the Midpoint price expressed in $/MMBTU, published in Gas Daily, in the Daily Price Survey, under the heading “East-Houston-Katy, Houston Ship Channel” for the day of RMR deployment.  The GPI for Saturdays, Sundays, holidays and other days for which there is no GPI published in Gas Daily, will be the next published GPI after the day of RMR deployment.  In the event that the GPI is not published for more than two (2) days, the previous day published GPI will be used.

The undersigned certifies that I am an officer of Generation Entity, that I am authorized to execute and submit this application on behalf of Generation Entity, and that the statements contained herein are true and correct.

Name:

Title:

Date:

STATE OF _______________

COUNTY OF _____________

Before me, the undersigned authority, this day appeared ___________________, known by me to be the person whose name is subscribed to the foregoing instrument, who, after first being sworn by me deposed and said:

“I am an officer of ______________, I am authorized to execute and submit the foregoing application on behalf of ______________, and the statements contained in such application are true and correct.”

SWORN TO AND SUBSCRIBED TO BEFORE ME, the undersigned authority on this the _____ day of ____________, 200__.

______________________________

Notary Public, State of ___________

My Commission expires __________

Changes to the Standard Form Reliability Must-Run Agreement

ERCOT Protocols

Section 22

Attachment F:

Standard Form Reliability Must-Run Agreement

June 1, 2001

Section 1. Unit-Specific Terms.

- Start Date: ________ 1, 200__.

Section 3. Term and Termination.

- Term.

(1)	This Agreement is effective beginning on the Effective Date.

(2)	The “Term” of this Agreement is a period of XXX  months; provided however, ERCOT, at its sole discretion, may terminate this Agreement prior to the end of the Term by giving 90 days advance written notice.

(3)	The period beginning on the Start Date and ending on the Stop Date is called the “Full Term” of this Agreement.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Revised language. |
| AEP | Revised language. |
| OPC | Expressed support and revised language to require an affidavit from senior manager or officer. |
| TECO/Frontera | Expressed objections to PRR. |