| PRR Number | 322PRR | PRR Title | RPRS Award Performance |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 6.10.8 Replacement Reserves Service Performance Criteria |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | The current language of the Protocols could allow a QSE receiving an RPRS award/deployment to be paid without starting the awarded unit. This is possible since the performance measures only require that the QSE submit balancing bids in an amount equal to the RPRS award, but do not specifically require that the QSE start the unit. |  |
| ###### Reason for Revision |  | Payment for an RPRS award should not take place if the Resource was not brought on line. |  |
| ## Timeline |  |  |  |
| Date Received |  | 3/18/2002 |  |
| Date Posted |  | 3/21/2002 |  |
| Comments Due |  | 4/11/2002 |  |
| PRS Review Date |  | 4/30/2002 |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  | 6/06/2002 |  |
| Board Consideration |  | 6/18/2002 |  |

Proposed Protocol Language Revision

### 6.10.8	Replacement Reserve Service Performance Criteria

QSEs awarded Replacement Reserve Service to bring a Generation Resource unit on-line or make available Load acting as a Resource shall make a good faith effort to cause their Resources to be available for Balancing Energy instructions at the time requested by ERCOT. Any QSE that anticipates for any reason it may not be able to honor its commitment because of unexpected problems shall notify ERCOT immediately. ERCOT will monitor the Real Time telemetry of the subject Resource breakers and megawatt output to determine if it is available as purchased. Performance shall be satisfactory if the Resource is brought on-line or made available and the QSE makes available Balancing Energy at least in the amount of the capacity of the awarded unit throughout the period requested. QSEs failing to bring the Generation Resource on-line or make the Load acting as a Resource available shall not be entitled to compensation for the intervals that the capacity was not available.  QSEs failing to provide Balancing Energy bids in the amount of the awarded capacity shall not be entitled to compensation for that amount of capacity not made available.

| ## Sponsor |  |
| --- | --- |
| Name | Richard Ross |
| E-mail Address | rross@aep.com |
| Company | AEP |
| Company Address | 2488 E 81st Street Tulsa, OK 74137 |
| Phone Number | 918-493-9544 |
| Fax Number | 866-947-1796 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |