| PRR Number | 322PRR | PRR Title | RPRS Award Performance |
| --- | --- | --- | --- |
| Recommended Action | Approve |
| Recommended Effective Date | July 1, 2002; based on manual work-around to Settlement and Operations, ERCOT to confirm system impact analysis. |
| System Impact | Manual process. |
| Benefit | Payment for an RPRS award should not take place if the Resource was not brought on line to provide capacity. |
| PRR Background | The current Protocols language may be interpreted as allowing a QSE receiving an RPRS award/deployment to be paid for capacity without starting the awarded unit. This is possible since the performance measures only require that the QSE submit balancing bids in an amount equal to the RPRS award, but do not specifically require that the QSE start the unit. |
| Protocol Revision Subcommittee Recommendation | PRS recommends approval as submitted. |

Recommended Language

### 6.10.8	Replacement Reserve Service Performance Criteria

QSEs awarded Replacement Reserve Service to bring a Generation Resource unit on-line or make available Load acting as a Resource shall make a good faith effort to cause their Resources to be available for Balancing Energy instructions at the time requested by ERCOT. Any QSE that anticipates for any reason it may not be able to honor its commitment because of unexpected problems shall notify ERCOT immediately. ERCOT will monitor the Real Time telemetry of the subject Resource breakers and megawatt output to determine if it is available as purchased. Performance shall be satisfactory if the Resource is brought on-line or made available and the QSE makes available Balancing Energy at least in the amount of the capacity of the awarded unit throughout the period requested.  QSEs failing to bring the Generation Resource on-line or make the Load acting as a Resource available shall not be entitled to compensation for the intervals that the capacity was not available.  QSEs failing to provide Balancing Energy bids in the amount of the awarded capacity shall not be entitled to compensation for that amount of capacity not made available.

| PRR Evaluation |
| --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |