| PRR Number | 332PRR | PRR Title | Unit Resource Testing |
| --- | --- | --- | --- |
| ###### Date |  | June 13, 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | John Adams |  |
| E-mail Address |  | jadams@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 7620 Metro Center Drive, Austin, TX 78744 |  |
| Phone Number |  | 512/225-7131 |  |
| Fax Number |  |  |  |

Comments

I disagree with the statement: "Cost to implement this PRR is expected to be strictly administrative and minimal"

PRR332 requires that ERCOT somehow exclude a set of generators from the congestion management software.  There is no mechanism in the current design to do so.  Implementing this would require a software change that keeps track of the generators, which are "on test" and prevents deployment of balancing to such generators.  My opinion is that such a change would be expensive, but IT would have to provide the cost impact.

In addition, ERCOT processes would have to be designed, documented and operators trained to "flag" such units when they are in a test mode.  Some amount of error in processing is inevitable.  Someone must decide what happens if a unit is not flagged and deployments go out to it in violation of this proposed protocol.  There would be a small increment in personnel required to provide operations services at ERCOT.

If a mistake is made or there is no other solution (i.e. a test unit is ordered to back down) and damages are sought where does the money come from?