| PRR Number | 332PRR | PRR Title | Unit-specific Dispatch Instructions and Resources Undergoing Required Testing |
| --- | --- | --- | --- |
| ###### Impact Analysis Date |  | 18th July 2002 |  |
| ###### Cost/Budgetary Impact |  |  |  |
| Implementation Timeline |  | 8-10 weeks after start of project. |  |
| ERCOT IT System Change |  | - Modify “Manual Unit Dispatch” display in the Market Operator Interface (MOI) to include an additional column for “TEST” status. The resources that are in the test mode would be added to the list along with the Start date/End date of the test period. - Modify Scheduling, Pricing and Dispatch (SPD) program to include the “TEST” status of the resources and keep their dispatch MW value fixed as entered in the resource plan. In case of resources being required for system reliability, OOM deployments would be used which would then override the “TEST” status of the resources. |  |
| ERCOT Staffing Impact |  | Minimal impact; 1-2 hours per week assuming 2-4 tests per week |  |
| Business Functions/ Processes Impact |  | New business process for QSEs to inform ERCOT when units are being tested. |  |
| ###### Operating Practices Impact |  | A QSE considering testing of their resources would be required to inform ERCOT of their intent. On receipt of such notice, ERCOT operators would change the status of those resources to “TEST” status from the “Manual Unit Dispatch” display. If the resources are to be used for reliability considerations, then the operators would use “OOM” deployment of those resources which would then override the “TEST” status. |  |

Comments