| PRR Number | 333PRR | PRR Title | Recovery of Actual Cost For OOM Down-v2 |
| --- | --- | --- | --- |
| ###### Date |  | 29 May 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | David Hurlbut |  |
| E-mail Address |  | david.hurlbut@puc.state.tx.us |  |
| Company |  | PUC Market Oversight Division |  |
| Company Address |  | 1701 N. Congress Ave, Austin, TX 78711-3326 |  |
| Phone Number |  | 512/936-7387 |  |
| Fax Number |  | 512/936-7361 |  |

MOD proposes the following modifications to the revised PRR submitted by ERCOT.

Comments

6.8.2.	Capacity and Energy Payments for Out-of Merit Service

6.8.2.2	Energy Payments

(5)	If over a calendar year a wind Resource is called upon to provide OOME Down Service and the normal payment for OOME Service is insufficient to cover actual verifiable costs of providing the service, then that Resource may file an annual claim with ERCOT to be paid the lower of:

- All verifiable costs that are directly attributable to the OOME service for the calendar year; or

- MaxCap * CCF * Curtail% * Hrs *CRP

Where:

MaxCap:	Registered Maximum Capacity of the Resource (MW)

CCF:		Capacity Conversion Factor  of 35%

Curtail%:	For the Resource making the claim, MWh curtailed / ( MWh actual production + MWh curtailed )

Hrs:		Total number of hours in the year, 8,760

CRP:		Price paid for curtailment, $25

The verifiable costs of providing the service shall be provided to ERCOT in writing from the QSE, certified by an authorized representative of the Resource and within a timeframe to allow resolution by the end of the dispute process for Settlement True-Up.  Verifiable costs under section (a) above shall be based on the actual verifiable MW production that the unit could have produced based on actual operating and maintenance conditions and actual wind speeds. Verifiable costs must be established in order for a claim to be valid even if paid under method (b) above.

A wind Resource filing a claim under this Section 6.8.2.2(5) must provide actual production and actual wind speed data for the entire month of the claim.  ERCOT will review this data for all hours of the month.  In the event ERCOT determines that it paid the Resource for any OOME down service in any hour of the month that the actual wind speed data show could not have actually been provided, then ERCOT shall deduct any such excess payment from the payment otherwise payable under (a) or (b) above.

This provision will expire -when ERCOT implements direct assignment of local congestion costs.