| PRR Number | 341PRR | PRR Title | Transmission Facility Status Change Notification |
| --- | --- | --- | --- |
| ###### Date |  | 28 May 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Dennis Kunkel |  |
| E-mail Address |  | dkkunkel@aep.com |  |
| Company |  | AEP Service Corp- TDSP |  |
| Company Address |  | 5502 Corporate Drive |  |
| Phone Number |  | 361-289-4003 |  |
| Fax Number |  | 361-289-4030 |  |

Instructions:

Comments are to be submitted electronically and are due by close of business of the comment due date.  Please follow this file naming convention:

###PRR <Company Name> Comments<date>.doc.

Comments

I like changing the protocol language to allow the TDSP more flexibility in maintaining transmission facilities that do not significantly affect the transmission grid.   However, the words “affects power flows” can still significantly limit this flexibility since the language can still be assumed to mean opening breakers on a ring buss or a breaker & ½ scheme since opening these breakers still affects power flows around the buss.   I suggest removing the words “power flows or” and just add the words “ that affects transfer capacity”.