| PRR Number | 341PRR | PRR Title | Transmission Facility Status Change Notification |
| --- | --- | --- | --- |
| ###### Date |  | 3 June 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | H. Steven Myers |  |
| E-mail Address |  | smyers@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 7620 Metro Center Dr.; Austin , TX |  |
| Phone Number |  | 512-225-7077 |  |
| Fax Number |  | 512-225-7148 |  |

Instructions:

Comments are to be submitted electronically and are due by close of business of the comment due date.  Please follow this file naming convention:

###PRR <Company Name> Comments<date>.doc.

Comments

Concerns:

1.  This change would introduce errors to Outage Coordination security analysis studies

2.  Only ERCOT has the needed overall perspective to sufficiently determine what “affects power flows or transfer capacity:.

Related actions already in progress:

1.  ERCOT recently developed clarifications for the Transmission Outage Coordination Process and procedures.  These clarifications address most, if not all, of the categories of outages mentioned in the “Reason for Revision” given for this PRR 341.

2.  ERCOT is in final internal review of the revisions/clarifications mentioned above.  It is likely that they will be posted and announced, via an Operations Bulletin, before comments on this PRR 341 all have been gathered.

Suggested Alternative Language:

5.5.2	Changes in Transmission Facility Status

The TDSP will notify ERCOT of any changes in status of Transmission Facility elements, as provided and clarified in the ERCOT Transmission Outage Approval Process document, pursuant to the Protocols.  The TDSP, via the designated Transmission Operator (TO), will notify ERCOT of any other Transmission Facility status as soon as practicable following the change.