| PRR Number | 341PRR | PRR Title | Transmission Facility Status Change Notification |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | August 1, 2002 |  |
| Summary of Impact Analysis |  | There is no impact to the ERCOT IT systems, operating practices, staffing or business processes. |  |
| Benefit |  | Provides flexibility in maintenance scheduling while ensuring optimization of transmission system use. |  |
| PRR Background |  | Provides flexibility with regards to specific types of maintenance: Transformer maintenance in substations with 2 or more load transformers where the ability to safely and reliably swap load on low side exists. Line maintenance for normally open-ended lines. Breaker maintenance within certain breaker configurations. The revision also re-confirms wording in ERCOT Operating Guide 2.8.3.2 Transmission: “ERCOT Control Area Authority shall coordinate all proposed maintenance of all lines or equipment that affects power flows or transfer capacity of the ERCOT System.” [Emphasis added] |  |
| Technical Advisory Committee Recommendation |  | TAC recommends approval as recommended by PRS. |  |
| ###### Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as amended by the ERCOT comments. |  |

Recommended Language

5.5.2	Changes in Transmission Facility Status

The TDSP will notify ERCOT of any changes in status of Transmission Facility elements, as provided and clarified in the ERCOT Transmission Outage Approval Process document, pursuant to these Protocols.  The TDSP, via the designated Transmission Operator (TO), will notify ERCOT of any other Transmission Facility status as soon as practicable following the change.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Proposed alternate language. |
| AEP | Agreed with concept and suggested language revisions. |