| PRR Number | 341PRR | PRR Title | Transmission Facility Status Change Notification |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 5.5.2 Changes in Transmission Facility Status |  |
| Requested Resolution |  | ## Urgent |  |
| Revision Description |  | Add verbiage to allow flexibility in maintaining specific equipment that currently does not exist with ERCOT Outage Coordination efforts |  |
| ###### Reason for Revision |  | Revision is necessary to allow flexibility with regards to specific types of maintenance: Transformer maintenance in substations with 2 or more load transformers where the ability to safely and reliably swap load on low side exists. Line maintenance for normally open-ended lines. Breaker maintenance within certain breaker configurations. The revision also re-confirms wording in ERCOT Operating Guide 2.8.3.2 Transmission (Note: the italics are added for emphasis): “ERCOT Control Area Authority shall coordinate all proposed maintenance of all lines or equipment that affects power flows or transfer capacity of the ERCOT System. “ The revision will allow entities performing maintenance some flexibility in scheduling. The flexibility will save entities money and will not affect the reliability of the Transmission grid. |  |
| ## Timeline |  |  |  |
| Date Received |  | 05/22/2002 |  |
| Date Posted |  | 05/23/2002 |  |
| Comments Due |  | 06/13/2002 |  |
| PRS Review Date |  | 06/21/2002 |  |
| PRS Recommendation |  | 06/24/2002 |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

5.5.2 Changes in Transmission Facility Status

The TDSP will notify ERCOT of any changes in status of Transmission Facility elements that affect power flows or transfer capacity as specified pursuant to these Protocols.  The TDSP will notify ERCOT of any other Transmission Facility status as soon as practicable following the change

| ## Sponsor |  |
| --- | --- |
| Name | Curtis Crews |
| E-mail Address | Ccrews@lcra.org |
| Company | Lower Colorado River Authority |
| Company Address | 3505 Montopolis Drive, Austin Tex 78744 |
| Phone Number | 512-356-6082 |
| Fax Number | 512-385-2146 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |