| PRR Number | 343PRR | PRR Title | BES Ramp Rate |
| --- | --- | --- | --- |
| ###### Date |  | 6-5-02 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Laura Zotter |  |
| E-mail Address |  | Lzotter@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |  |
| Phone Number |  | 512-248-3984 |  |
| Fax Number |  | 512-248-3082 |  |

Comments

Please strike the word usually and insert the word USING.  Also, change the phrase “a ten (10) minute ramp rate” to “a ten minute ramp DURATION”.

6.5.2	Balancing Energy Service

(18)	Balancing Energy Service deployment instructions by ERCOT to any QSE are constrained by the amount of power that can be deployed in a fifteen (15) minute interval, using a ten (10) minute ramp duration, at the QSE specified ramp rate in the QSE’s bid.