| PRR Number | 343PRR | PRR Title | BES Ramp Rate |
| --- | --- | --- | --- |
| ###### Date |  | 6/11/02 |  |
| Protocol Section Requiring Revision |  | 6.5.2 (18) |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Manny Muñoz |  |
| E-mail Address |  | Manuel-munoz@reliantenergy.com |  |
| Company |  | Reliant Energy |  |
| Company Address |  |  |  |
| Phone Number |  |  |  |
| Fax Number |  |  |  |

Proposed Protocol Language Revision

6.5.2 Balancing Energy Service

- Balancing Energy Service deployment instructions by ERCOT to any QSE are constrained by the amount of energy that can be deployed by the QSE within the 10-minute ramp period at the ramp rate that is communicated to ERCOT in the QSE's bid. Expressed in MW/Min, the ramp rate serves as the basis for calculating the maximum change in the amount of energy that can be deployed by the QSE from one 15-minute settlement interval to the next. Moreover,if ERCOT deploys balancing in one direction and in the opposite direction in the subsequent interval then the total change in these two deployments cannot be greater than 10 times the bid ramp rate.