| PRR Number | 343PRR | PRR Title | BES Ramp Rate |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Recommended Effective Date |  | August 1, 2002 |  |
| Summary of Impact Analysis |  | There is no impact to the ERCOT IT systems, operating practices, staffing or business processes. |  |
| Benefit |  | Clarification of existing Protocol language. |  |
| PRR Background |  | ## Add language to describe the typical ramp duration and clarify the deployment period as the operating interval. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval as amended. |  |

Recommended Language

Reliant language:

6.5.2 Balancing Energy Service

- Balancing Energy Service deployment instructions by ERCOT to any QSE are constrained by the amount of energy that can be deployed by the QSE within the 10-minute ramp period at the ramp rate that is communicated to ERCOT in the QSE's bid. Expressed in MW/Min, the ramp rate serves as the basis for calculating the maximum change in the amount of energy that can be deployed by the QSE from one 15-minute settlement interval to the next.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Revised language. |
| Reliant | Proposed alternate language. |