| PRR Number | 346PRR | PRR Title | MVA Data Calculation Responsibility |
| --- | --- | --- | --- |
| ###### Impact Analysis Date |  | 29th August 2002 |  |
| ###### Cost/Budgetary Impact |  |  |  |
| Implementation Timeline |  | None required. |  |
| ERCOT IT System Change |  | Current MVA data in SCADA is calculated from MW and MVAR information that is provided by telemetry. If the TDSPs stop sending MVA data, it won’t impact ERCOT’s system. |  |
| ERCOT Staffing Impact |  | None. |  |
| Business Functions/ Processes Impact |  | None. |  |
| ###### Operating Practices Impact |  | None. |  |

Comments