| PRR Number | 346PRR | PRR Title | MVA Data Calculation Responsibility |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 12.4.4.1.1 QSE, Resource and TDSP Responsibilities |  |
| Requested Resolution |  | ## Norma |  |
| Revision Description |  | Eliminate redundant requests for data, specifically MVA. Eliminate erroneously requested data (i.e. voltage regulator). Further define requested data. |  |
| ###### Reason for Revision |  | MVA data is calculated from MW and MVAR information that is already provided. Current ICCP Network Interface Control Document Data Object Definitions do not include MVA. TSPs, normally, do not operate voltage regulators. This should be the QSE’s responsibility. The term “Substation” is not an ERCOT Protocol defined term. By changing the term “Substation” to “Transmission Facility”, the data request is clear. |  |
| ## Timeline |  |  |  |
| Date Received |  | 06/28/2002 |  |
| Date Posted |  | 07/01/2002 |  |
| Comments Due |  | 07/22/2002 |  |
| PRS Review Date |  | 07/22/2002 |  |
| PRS Recommendation |  | 07/24/2002 |  |
| TAC Consideration |  | 09/05/2002 |  |
| Board Consideration |  | 09/17/2002 |  |

Proposed Protocol Language Revision

Note :  Changes in bold

Items 12.4.4.1.1 (1) (b) and (f) refer to MVA power operation data

Item 12.4.4.1.1 (1) (c) refers to voltage regulator data

Item 12.4.4.1.1 (1) (e) refers to “substation voltages” data

##### 12.4.4.1.1 QSE, Resource and TDSP Responsibilities

QSEs, Resources and TDSPs are required to provide power operation data to ERCOT including, but not limited to:

- Real time generation data from QSEs;

- Planned Outage information from Resources;

- Network data used by any TDSP’s control center, including:

  - Breaker and line switch status of all ERCOT Transmission Grid devices;

  - Line flow MVA, MW and MVAR;

- Voltage regulator;

  - Breaker, switches connected to all Resources;

  - Substation Transmission Facility Voltages; and

  - Transformer MVA, MW, and MVAR, and TAP.

NOTE:  This change would require additional changes related to proposed integration of “Communicating with ERCOT” document and Operating Guide Appendix C.  NDSWG has been advised and has shown support for this PRR

| ## Sponsor |  |
| --- | --- |
| Name | W. Curtis Crews |
| E-mail Address | Ccrews@lcra.org |
| Company | Lower Colorado River Authority |
| Company Address | 3505 Montopolis Drive |
| Phone Number | 512-356-6082 |
| Fax Number | 512-385-2146 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |