| PRR Number | 375PRR | PRR Title | AS Schedule Times |
| --- | --- | --- | --- |
| ###### Status |  |  |  |
| Protocol Section Requiring Revision |  | 4.3.5 4.4.8 4.4.14 |  |
| Requested Resolution |  |  |  |
| Revision Description |  | Clarification of when AS schedules are allowed to be modified. |  |
| ###### Reason for Revision |  | To ensure consistent data when Day Ahead studies are run. |  |
| ## Timeline |  |  |  |
| Date Received |  | 12/18/2002 |  |
| Date Posted |  | 12/23/2002 |  |
| Comments Due |  | 01/15/2003 |  |
| PRS Review Date |  | 01/17/2003 |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  | 02/06/2003 |  |
| Board Consideration |  | 02/18/2003 |  |

Proposed Protocol Language Revision

4.3.5 Requirement for Balanced Schedules.

A QSE shall submit to ERCOT only Balanced Schedules, for both energy and Ancillary

Services, in the Day Ahead Scheduling Process and the Adjustment Period. If a QSE submits a

schedule that is not a Balanced Schedule, ERCOT shall reject that schedule in accordance with

Section 4.4.13, ERCOT Day Ahead Ancillary Services Procurement Process.  Balanced Ancillary Service and Energy schedules may not be submitted or modified between the hours of 1500 and 1800 in the Day Ahead Process for the hours between 0100 and 2400 of the next day.

4.4.8 Submittal of Day Ahead Schedules and Ancillary Services Schedules

QSEs will submit Day Ahead Balanced Schedules to ERCOT before 1100 of the Day Ahead for

each Settlement Interval of the Operating Day. Obligations and Supply must be scheduled by

Congestion Zone. Although the schedules must be balanced, they need not be balanced by

Congestion Zone.

The QSE’s balanced Ancillary Service schedule must specify the amount of ERCOT allocated

Ancillary Service Obligation for each service type that the QSE intends to purchase from

ERCOT.

Day Ahead schedules may also include Self-Arranged Ancillary Services in accordance with

Section 6.2.2, provided by the QSE to meet all or a portion of its Ancillary Services Obligation.

Self-Arranged Ancillary Services may consist of groups of Resources, specific Resources, or

trades with other QSEs. After 1100, a QSE may not increase its level of Self-Arranged Ancillary

Services for the Day Ahead Obligations, unless ERCOT has notified Market Participants of CSC

Congestion or capacity insufficiency as described in Section 4.4.9. If such notice is provided,

then the QSE will be permitted to update its Ancillary Service Schedule for self- arranged

Ancillary Services until 1300 as detailed in Section 4.4.10. At 1330, ERCOT will procure, on

behalf of the QSEs, any Ancillary Services not self-arranged.

Balanced Ancillary Service and Energy schedules may not be submitted or modified between the hours of 1500 and 1800 in the Day Ahead Process for the hours between 0100 and 2400 of the next day.

4.4.14 ERCOT Notification of Selected Ancillary Services Bids

By 1330, ERCOT will notify each QSE of the Ancillary Services procured from that QSE. At

1500, QSEs will provide an updated Day Ahead Ancillary Services schedule to ERCOT.  Balanced Ancillary Service and Energy schedules may not be submitted or modified between the hours of 1500 and 1800 in the Day Ahead Process for the hours between 0100 and 2400 of the next day.

| ## Sponsor |  |
| --- | --- |
| Name | Randy Wind |
| E-mail Address | rwind@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive Taylor, TX 76574 |
| Phone Number | 512-248-3939 |
| Fax Number |  |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |