Dynamics Working Group February 11, 2003 Report to the ROS

The DWG had a two days meeting on January 28-29, 2003. Following are the activities and issues of concern:

- Flat start of the 2003 case was conducted during and after the meeting. The 2003 flat start is complete. The 2006 flat start work has begun and will continue in the next meeting on February 19-20, 2003, if not completed before then.

- The small signal stability study was discussed. Following are the conclusions of the discussions:

ERCOT staff will prepare a west-east transfer case setup, considering Graham-Parker 345 kV double circuit contingency, and will conduct  several studies using the Powertech’s SSAT software, and DWG will make recommendations based on the results of the studies. The list of the initial studies have been decided.

- Combined cycle plant model development priority:

The DWG believes that the combined cycle plant modeling effort should receive an appropriate level of attention such that we have some usable (PSS/E ready) models by the end of the first quarter of next year. See the attachment for a couple of brief paragraphs describing this request.

- Electrotek gave a presentation of the status of the wind turbine generation model development work. It appears that the project is on time. Monitoring equipment have been installed and are recording disturbances. The first stage of model development has been completed using PSCAD detail modeling. Electrotek is now working with PTI to convert and code the models for use in PSS/E.

- The DWG is in the process of preparing a list of recommendations for dynamics data collection, tuning and verification. However, after preparation we will request that the ROS discuss, approve or revise these recommendations.

The next meeting is on February 19-20, 2003  in ERCOT Taylor office. The meeting activities will include the following:

- Flat start of 2006 case.

- Running, and reviewing small signal stability studies, and discussing the results.

- Discussion on developing TRV criteria for ERCOT.

- Updating the DWG Procedural manual—tentative.

These items likely will take longer than 2 days to complete, another two days meeting may be scheduled for March 2003, to complete these tasks.

Reza Ebrahimian,

Austin Energy

2003 DWG Chairman