# ROS report to TAC for Feb. 6th 2003 meeting

FCTF is working on measures of the generators post disturbance performance  ….. waiting on the removal of the smoothing algorithm so the data is clearer……

PDCWG is working on the format and type of data to analyze generator performance during frequency recovery ( in support of the above effort)

SSWG and NDSWG are discussing ways to better link the planning base cases with the operational cases. ERCOT System Planning has noted the cases differ in results and we need to know which is correct.

OWG is working on what kind of operational events involving loss of load, transmission, generation should require a postmortem of some kind from ERCOT staff and how that information could be developed and when.

The RCVCTF is moving along on a Reactive and Voltage control document to replace the interim standard .. by June….. there will be a draft for review by the subcommittees in a month or two

# Footnotes

Frequency Control Task Force

Performance Disturbance Compliance Work Group

Steady State Work Group

Network Data Support Work Group

Operations Work Group

Reactive Control / Voltage Control Task Force