| PRR Number | 380PRR | PRR Title | Various Blackstart Services |
| --- | --- | --- | --- |
| ###### Date |  | February 18, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Manuel Munoz |  |
| E-mail Address |  | Manuel.munoz@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  | 1111 Louisana, Houston, Tx. , 77002 |  |
| Phone Number |  | 713-207-5398 |  |
| Fax Number |  | 713-207-0499 |  |

Comments

CenterPoint Energy would like some clarification regarding the technical merits of the AEP proposal dealing with allowing contracted power supply outside of ERCOT to bid for Black Start service in ERCOT. Specifically CenterPoint Energy would like answers to the following questions:

- Would the suggested contracted capacity include provisions to ensure that the D-C tie was fully functional in the event of an ERCOT Blackout?

- To what extent would the D-C tie require reactive resource capability on the ERCOT side and how would the contracted power supply on the non-ERCOT side supply this reactive power on the ERCOT side when there is a blackout in ERCOT?

- If a blackout took place simultaneously on both the ERCOT side and the non-ERCOT would the power supply on the non-ERCOT side need to have its own blackstart capability?

- Does the D-C tie require a power supply contract to become a viable source for black start service?