| PRR Number | 383PRR | PRR Title | RMR Resource Maintenance Outage Approval |
| --- | --- | --- | --- |
| ###### Date |  | 10 February 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Steve Myers, Manager of System Operations |  |
| E-mail Address |  | smyers@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive Taylor, Texas |  |
| Phone Number |  | 521 248 3077 |  |
| Fax Number |  |  |  |

The planned outages of RMR units are critical to the reliability of the associated areas of the ERCOT grid.  ERCOT believes that seven days to coordinate and approve (or disapprove) the initially submitted outage schedule for an RMR Resource(s) is not enough time.  ERCOT believes that requests for changes to the approved outage schedule should be submitted to the Outage -Coordinator no later than thirty days before the start of the outage.

Comments

### 8.1.4	Resources Outage Plan

Resource Entities shall include the following non-binding information in the Outage plan for each Resource:

- The Resource identified by common name and ESI ID;

- The net megawatts of capacity anticipated to be unavailable;

- The estimated start and finish date for each Planned Outage; and

- An estimate of the deviation that could occur in the Planned Outage schedule (i.e., the earliest start date and the latest finish date).

#### 8.1.4.1	Changes to a Resource Outage Plan

All Resource Entities shall notify ERCOT of any changes to a Resource Outage plan that affects activities scheduled to occur within the next 30 days.

ERCOT shall accept all changes to Resources Outage plans as submitted without comment except as otherwise provided in this Section.

#### 8.1.4.2	Clarifying Information Requests

ERCOT may request clarifying information from a Resource Entity regarding the information submitted as part of a Resource Outage plan.

*****************************************************************************

Protocol 22-F:

Section 8. Operation.

- Designated Unit Maintenance. Before the start of each contract year, Participant shall furnish ERCOT with its proposed schedule for Planned Outages for inspection, repair, maintenance, and overhaul of the Designated Unit for the contract year. Participant will promptly advise ERCOT of any later changes to the schedule. The specific times for Planned Outages of the Designated Unit must be approved or rejected by ERCOT as specified in Section 8 of the Protocols.    Requested outages shall only be rejected if necessary to assure reliability of the ERCOT System.  ERCOT shall, if requested by Participant, endeavor to accommodate changes to the schedule to the extent that reliability of the ERCOT System is not materially affected by those changes.  In all cases, ERCOT must find a time for Participant to perform maintenance in a reasonable timeframe as defined by Good Utility Practice.