| PRR Number | 386PRR | PRR Title | Deployed ancillary services posting |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Proposed Effective Date |  | June 1, 2003 |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | No impact to the ERCOT computer systems. |  |
| Benefit |  | Clarification. |  |
| PRR Background |  | ## Add text “where applicable” to indicate that not all services are deployed by zone and the services that are deployed by zone will be reported by zone. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of PRR386 as submitted. |  |

Recommended Language

### 12.4.1	Scheduling Information

ERCOT shall post on the MIS scheduling information, based on requirements as set forth in these Protocols, including:

- ERCOT prepared demand forecasts;

- ERCOT forecasted CSC Capabilities and Congestion;

- As close to Real Time as practicable for each Congestion Zone, where applicable, power deployed with Regulation Reserves, Responsive Reserve, Non-Spinning Reserves and/or Balancing Energy and Market Clearing Prices for Energy;

- Day-Ahead Scheduling Process summaries, including total scheduled Load, total forecasted Load, and net transfer on each DC-tie;

- Commercially significant information, other than Protected Information, regarding changes in ERCOT System conditions, including changes or potential changes in the status of CSC capabilities; or conditions such as adverse weather conditions as determined from the ERCOT designated weather service, that could affect the security of the ERCOT System; and

- All forecasted Transmission Loss Factors and Distribution Loss Factors.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted. |