# OWG report to ROS April 9, 2003

The OWG has not met since the last ROS meeting. At its next meeting, the OWG will continue its review of the February 25th EECP event, discuss the proposed Reactive Standard, and determine direction for the “significant event” definition.

Next OWG is scheduled for April 16, 2003 at the Comfort Suites.

- The Operating Guide Revision Task Force has not met since the last OWG meeting. There are currently no OGRRs for ROS’ consideration.  The OGRTF will discuss OG language concerning AVR status reporting and EECP communications at its next meeting.

Operating Guide Update

- New Operating Guides posted on April 1, 2003 that include:

- 122 Changes due to PRR 332 Unit-specific Dispatch Instructions Undergoing Required Testing

- 124 Update of Section 2 – Protocol References

- 125 Update of Section 3 – Protocol References

- 126 Update of Section 3.2.6 Protocol References and removal of duplicate text

- TAC approved the following OGRRs at its April 3rd meeting:

  - 127 Changes due to PRR 341 Transmission Facility Status Change Notification –

  - 128 Change Process Regarding Protocol Revisions

Effective date for these OGRRs is May 1, 2003.

The next OGRTF meeting is scheduled for April 15, 2003 at the Met Center.

- The Black Start Task Force met on March 13th at the Taylor facility.  The 2003 Black Start Training was evaluated and determined to be very successful. 94% of critique sheet respondents stated that they gained useful knowledge during the training. There was a preliminary discussion of the 2004 Black Start Training. The following Black Start schedule was recommended for 2004:

- April 1, 2003 – ERCOT distributes Black Start Services RFP

- June 1, 2003 – RFP due from Resource bidders

- August 1, 2003 – ERCOT awards bids

- Prior to December 31, 2003 – Resources perform qualification testing

- October 15, 2003 – Black Start TF reviews TO BS Plans

- November 15, 2003 – Black Start TF reviews ERCOT’s Black Start Plan

- December 31, 2003 – ERCOT Black Start Plan finalized

- January 1, 2004 to December 31, 2004 – Black Start Service Starts

Next BSTF meeting is scheduled for April 23, 2003.