PRS Items for TAC

April 3, 2003 Meeting

PRS recommended approval of the following:

- 377PRR – ERCOT Canceled RMR Unit Start, approved as revised by the ERCOT comments.

  - Impact Analysis:  No impact to the ERCOT computer systems; requires a manual process.

  - Benefit:  Allows for partial compensation and posting for RMR Start-up costs when the start is cancelled by ERCOT.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 May 2003.

- 379PRR – BLT Waiver [Revised title], approved new Subsection 16.5.1.2 only & severed LSE issued for Waiver recipients.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Facilitates the registration of BLTs to maintain system reliability.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 May 2003.

- 381PRR – Update QSE Designation, approved as revised.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Clarifies the process and timeline for a QSE to terminate its designation for an LSE or Resource Entity.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 May 2003.

- 383PRR – RMR Resource Maintenance Outage Approval, approved as revised.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Provides an approval timeline for RMR outage requests.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 May 2003.

- 387PRR - Mismatched Inter-QSE Schedules Statements, approved as originally submitted.

  - Impact Analysis:  Impacts the ERCOT computer systems.

  - Benefit:  Clarifies, automates and simplifies settlement of Mismatched Inter-QSE Schedules.

  - Recommended Priority & Rank:  1.2, requirements for PR-30053 (currently on the Project Priority List).

  - Recommended effective date:  Upon system implementation.

# Rejected PRRs:

- 389PRR – Winter Weather Events Requirement.

# Urgent Timeline recommended:

- None.

# Withdrawn PRRs:

- None.

# ----------------------------------------------------------------------------------------------------------------

# PRRs approved for future TAC review:

- 382PRR – Settlement Statement Suspension, approved as originally submitted.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

- 385PRR – DLC Implementation, approved as amended.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

- 386PRR – Scheduling Information, approved as submitted.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

- 392PRR – Posting BE Forecast – PIP138, approved as submitted.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

- 393PRR – Balancing Energy Bid Expiration Time-PIP147, approved as submitted.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

- 394PRR – Balancing Energy Ramps as Instructed Deviation, approved as amended.  Pending ongoing comment period on the PRS recommendation, comments are due April 14, 2003.  TAC review:  May 8, 2003.

# Status of pending PRRs:

- 281PRR – Aggregate Site Instructions (previously, Change ERCOT Deployment Instructions to Settlement Meter Specific).  A revised version was submitted on 5/24/02; this PRR is on a normal timeline, PRS referred to the QSE Project Managers Working Group for comment and has deferred consideration.

- 293PRR – Uncontrollable Renewable Resources, pending ongoing review by WMS working groups.  The PRR language is being revised.

- 320PRR – Loads Participation in AS Market.

- 340PRR – Define OOME as an Instructed Deviation; pending redrafting of the proposed language to keep the market solution language, integrate generic costs and remove references to aggregate site deployments and OOME being an instructed deviation.

- 356PRR – SCE Performance Requirement, on hold pending review by PRS task force.

- 358PRR – Negative Impact SCE, on hold pending review by PRS task force.

- 362PRR - Load Profiling ID Type Correction, deferred, pending a timeline from the Load Profiling Group.

- 371PRR – Minimum Energy OOME When OOMC Issued, redrafted & referred to the RMR Task Force.

- 384PRR – Advisory Opinion.  A redraft has been distributed; the code of conduct and advisory opinion issues are to be severed into separate PRRs.  Bob Helton will submit the advisory opinion PRR.

- 390PRR – Transmission Interconnection Requirement.  Deferred, PRS will review at its April 25, 2003 meeting.

- 391PRR – Waiver Recipients Must Designate an LSE.  Deferred, PRS will review at its April 25, 2003 meeting.

- 396PRR – RMR Issues, currently being redrafted by the RMR Task Force.

- 397PRR – McCamey Area Congestion Management.  Pending initial comment period, comments are due April 9, 2003.

Projects Prioritized:

- None.