Dynamics Working Group April 9, 2003 Report to the ROS

The DWG had a one-day meeting on March 31, 2003. Following are the activities and issues of concern:

- The DWG discussed the TVD criteria.

- The DWG spend most of the March 31 meeting working on the TVD criteria.

- The WECC criteria were used as a reference to develop the interim ERCOT TVD criteria. The DWG has written a first draft of the criteria for the ROS to review and reword if needed.

- The TVD survey was formatted, finalized and forwarded to all of the NERC regional reliability councils.

- A subgroup is formed to study the development of the final ERCOT TVD criteria.

- We are in the process of understanding the mechanisms involved in transient voltage instability phenomenon.

- One issue/ question that the DWG would like to clarify: these criteria are intended to protect the transmission system against transient voltage instability and are not intended for the protection of the load or for  power quality.

- The small signal stability study was discussed. Following are the conclusions of the discussions:

  - We are in the process of writing the scope for the additional studies.

Items Remaining from the Last ROS meeting:

- Combined cycle plant model development priority:

  - The DWG is requesting that the ROS approve this project, and the issue be taken to the TAC for their recommendation. See attachment.

- The DWG has prepared a list of recommendations for dynamics data collection, tuning and verification for inclusion into the procedural manual. The DWG is requesting that the ROS discuss, approve or revise these recommendations. See attachment.

The next meeting is on April 21, 2003 in ERCOT Taylor office. The meeting activities will include the following:

- Updating the DWG Procedural manual.

- Work on developing TRV (or TVD) criteria for ERCOT.

These items likely will take longer than 1 day to complete, another one days meeting may be scheduled for May 2003, to complete these tasks.

Reza Ebrahimian,

Austin Energy

2003 DWG Chairman