| PRR Number | 399PRR | PRR Title | Requirements for Replacing an IDR with a Non- IDR Meter |
| --- | --- | --- | --- |
| ###### Date |  | 04/24/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Larry Gurley |  |
| E-mail Address |  | Larry.gurley@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1601 Bryan St, Dallas TX |  |
| Phone Number |  | 214 875 9020 |  |
| Fax Number |  | ?????????????? |  |

Comments

TXU believes the issue addressed in this PRR is not yet ready for decision by the PRS.  There are many implications that need to be explored.

# Issues that need to be addressed in advance of taking further action on the entitled PRR

- How does the market distinguish those sites that had IDR’s installed by choice but now the desire is to replace those with non-IDR meters?

- Is there a need to qualify the sites so that individual customer savings are balanced against market cost for settling the ESIID on profiles that will be less accurate than IDR settlement?

  - Replacement of IDRs with Non-IDRs reduces accuracy of settlements (interval data v. load profiles) thus imposing costs on all entities for additional UFE.

  - Obtain the number of ESIIDs with an IDR at or below 200 kW? 100 kW?  50 kW?

  - Obtain the number of ESIIDs without an IDR at or below 200 kW? 100 kW?  50 kW?

- Determine if the intent is for the removal to be automatic or if the affected market participants initiate the removal.  Is the replacement of IDR with Non-IDR mandatory once below 200 kW?

  - If yes, then why limit the ability of the market to install the most accurate metering available, especially with the cost of IDRs coming down?

  - If no, then movement from IDR to load profile would only occur when advantageous to the customer.  This would tend to invalidate existing profiles.

- By replacing IDRs with Non-IDRs, customers will save money from the associated costs of the IDR and interval data collection.

- Who will administer? (ERCOT currently monitors and reports monthly to the market a list of Non-IDR ESIIDs that have reached the 1000 kW threshold and must have an IDR installed.)

- Is 200 kW the proper threshold?  Cost/benefit analysis could be performed to determine the appropriate demand level for a lower threshold.  (Profiling WG performed cost/benefit for the discussion on setting the 1000 kW threshold in Mar-Apr 2000.)

- What effect, if any, will the competitive metering rulemaking, Project. 26359, have on this PRR?

- Details should be addressed at the Profiling WG and language added to the Load Profiling Guides, Section 17.2 “IDR Requirement.”

- Determine impact on current load profiles, e.g. models and load research

# Recommended Action

Remand the PRR to the Profile Working Group (PWG) to address questions and issues around IDR removal - examples of which are outlined above.  After which, the PWG would resubmit redline language to follow the PWG’s recommended protocol change.  The request would:

- clarify if the market wishes to have protocol language allowing removal of IDRs; for what reasons and whether it is automatic or upon request

- clarify what threshold should be reached before an IDR can be considered for removal

- identify what market participants can request removal

- identify participants that can reject a removal request.