| PRR Number | 400PRR | PRR Title | Provisional Approval for LaaRs |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Proposed Effective Date |  | June 1, 2003 |  |
| Priority & Rank Assigned |  | Related to PIP112 |  |
| Summary of Impact Analysis |  | Part of the revision impacts the ERCOT computer systems. |  |
| Benefit |  | Allows loads to begin participating in the market as soon as their loads meet all telemetry and calibration testing until such time as an actual load interruption test can be scheduled with ERCOT and the load facilities. |  |
| PRR Background |  | ## Under section 6.10.1 of the Protocols ERCOT has determined that all provisional qualifications for UFR Loads will expire on May 31, 2003. The Demand Side Working Group requests that provisional qualification be granted for LaaRs that meet the ERCOT registration and telemetry requirements but have not completed testing with ERCOT. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends approval of PRR400 as submitted. |  |

Recommended Language

### 6.10.1 Introduction

QSEs providing Ancillary Services shall meet qualification criteria and performance measures to operate satisfactorily with ERCOT. ERCOT shall develop an Ancillary Services qualification and testing program and Real Time Monitoring Program for all suppliers of Ancillary Services that is based on the key factors needed for reliability. These programs will be approved by ERCOT Technical Advisory Committee and will be included in the Operating Guides. These performance factors shall be measured as precisely and efficiently as possible. General capacity testing verifies a Generation Resources or Load Acting as Resources, net dependable capability. Qualification tests allow the potential provider’s portfolio to demonstrate the minimum capabilities necessary to deploy an Ancillary Service, and performance measures assess the Real Time delivery of a service by an Ancillary Services provider.

All loads may be provisionally qualified for a period of ninety days as a Load acting as a Resource and may be eligible to participate as a Resource. Loads that have installed the appropriate equipment, with verifiable testing data, may be provisionally qualified as a provider of Ancillary Services once the specific requirements for the Ancillary Services specified in the Operating Guides have been completed to ERCOT’s reasonable satisfaction.

[PIP112:  Add this section when BUL is implemented.]

All loads may be provisionally qualified for a period of ninety days to participate as a balancing up load (BUL), provided the Load is metered with an IDR to ERCOT’s reasonable satisfaction.  Any load may be qualified to participate as a BUL Resource, provided the Load meets the metering requirements (including any sampling standards identified in Section 18) established by ERCOT once the following ERCOT requirements have been met:

- ESI-ID registration of BUL by the QSE

- Telemetered BUL response value is installed and tested between QSE and ERCOT

- For Dynamic Obligation Schedule (DSBUL), telemetered dynamic obligation telemetry tested between QSE and ERCOT.

Provisional qualification as described herein may be revoked by ERCOT at any time for any non-compliance with provisional qualification requirements.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Expressed reliability concerns. |
| ## PRR Sponsor |  |
| Name | Mary Anne Brelinsky (on behalf of the Demand Side Working Group) |
| E-mail Address | mbrelinsky@reliant.com |
| Company | Reliant |
| Company Address | Reliant Energy Plaza P.O. Box 4300 Houston TX 77210-4300 |
| Phone Number | 713-497-7440 |
| Fax Number | 713 497 0705 |