| PRR Number | 396 | PRR Title | RMR Issues |
| --- | --- | --- | --- |
| ###### Date |  | 4/29/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Richard Ross |  |
| E-mail Address |  | rross@aep.com |  |
| Company |  | AEP |  |
| Company Address |  | Tulsa, Ok |  |
| Phone Number |  | 918-594-2906 |  |
| Fax Number |  | 8669471796 |  |

Comments

Comments are based on accepting all redline changes to document distributed by Isabel on 4/23 via email (PRR 396 REVISED).

AEP Comments on selected sections of the RMR PRR

- 6.8.7 Deployment of RMR Service

(6) If adjustments made by ERCOT would result in the QSE exceeding its scheduled amount of generation, then the affected QSE may accommodate these changes by adjusting other Resources such that the Schedule Control Error is minimized.  If the QSE is unable to accommodate these changes, then URC charges will not assessed during the interval.  The RMR may implement a Responsibility Transfer between its QSE and ERCOT for energy delivered under an RMR agreement to minimize the impact of RMR scheduling on its QSE.

      - Capacity Payments for RMR Service

- The capacity payment for RMR Service is referred to in these Protocols as the “Standby Price.” The hourly Standby Price to be used in settlement will be calculated as follows:

SBRMRhq	=	Σ(SBRMRuhq)u

Where:

SBRMRuhq	=	-1 * StbyPriceu * BillCapuh

BillCapuh 	=	IF (TestCapu < RMRCapu, RMRCapu *(1 – TestCapRedu), RMRCapu)

AvailRedu	=	IF (HrRollEAFuh >= .85, 1, IF(HrRollEAFuh > .35, (1-((.85 - HrRollEAFuh)*2)), 0)

TestCapReduh	=	((RMRCapu – TestCapuh)/RMRCapu)*2

RMRCapu	=	Maximum Unit capacity as stated in the RMR Contract.

TestCapuh	=	Test Capacity is the capacity resulting from test conducted by ERCOT.

HrRollEAFuh	=	IF (Elapsed Hours < 4379, 1, ((AvailGenCapuh + ∑AvailGenCapuh /(MaxGenCapuh + (∑MaxGenCapuh4379))

AvailGenCapuhi	=	MIN (AvailPlanCapuh, MiscondCapuh, MaxGenCapuh)

MaxGenCapu	=	MIN (RMRCapu, TestCapu)

MiscondCapuh	=	IF (AMDuh >= (.98 * AvailPlanCapuh), AvailPlanCapuh, AMDuh)

MiscondExcused	=	Yes or No

MiscondCapuh	=	IF (MiscondExcused = No, (IF (AMDuh > (.98 * AvailPlanCapuh), 0, 10000), 0)

AMDuh	=	Actual Metered Delivery per unit per hour in MW

Elapsed Hours	=	Elapsed hour since 0000 of the date of contract inception

Note:

If less than 4380 hours have elapsed since the start date,

- HrRollEAFui = 1.0

- The formula below will be used to determine the total RMR Payments to be allocated to each QSE in Section 6.9.4, Settlement Obligation for Black Start Service, RMR Standby Service, and RMR Synchronous Condenser Service.

SBRMRi	=	SUM(SBRMRhuq)q / n

Where:

i	interval

h	Hour

n	number of intervals in the hour

u	unit

q	QSE

SBRMRuhq	RMR Standby Price per unit (for that QSE) for that hour

SBRMRi	Summation of RMR Standby Fees in that interval for all QSEs in the Market

- The hourly Standby Price will be based on the estimated eligible costs of the RMR Unit as contained in the RMR Agreement.  The monthly estimate will be adjusted to actual eligible costs prior to the True-up Settlement Statement.  An Incentive Factor will be applied to the actual eligible costs, excluding fuel costs, incurred by the RMR Unit in the provision of RMR service.  Actual cost data must be timly submitted by the Generation Entity for the RMR Unit so that it can be verified by ERCOT and the actual cost data can be reflected in the True-up Settlement Statement.  To be considered timely submitted, actual cost data for month ‘x’ must be submitted by the latter of (1) thirty (30) days prior to the publishing date of the True-up Settlement Statement for the first day in month ‘x’ or after notification of cost which impact the actual true up cost.

- SBRMRmu=[monthly estimate +/- adjustment for actual eligible costs

- +incentive factor]/h

- Where:

- m	Month

- U	unit

- H	hours in the month

- For the purposes of subsection (3), eligible costs for annual RMR Agreements, RMR Agreements for the Minimum Agreement Period and RMR Agreements under Section 6.5.9(5) for periods exceeding twelve months are the non-fuel cost that are incurred by the RMR Unit owner to provide the RMR Service  reduced by the non-fuel costs the RMR Unit would have incurred had it been mothballed or shutdown.  Examples of eligible costs include, but are not limited to labor and labor associated expenses, materials, supplies and services necessary to operate the RMR Unit, cost associated with maintenance due to either recommended equipment maintenance intervals or safety issues consistent with Good Utility Practice, and to insure that its condition at the end of the RMR Agreement is no worse that its condition at the beginning of the RMR Agreement.  Examples of costs not included as eligible costs are: depreciation expense, return on equity, debt and interest costs, labor costs associated with other, non-RMR Generation Resources at the same facility and any other costs the Generation Entity would have incurred even if the RMR Unit had been mothballed or shutdown.

- The owner of the RMR Unit shall provide good faith detailed estimates of its eligible monthly non-fuelcosts in a to ERCOT as part of the RMR Agreement negotiation process.  ERCOT shall review and approve the budget and utilize these figures as the basis for Initial Settlement for RMR service.    The budgeting process shall be as follows:

RMR Resource Owner shall supply ERCOT a preliminary non-fuel budget for the 12-month period starting with the anticipated effective date of the RMR agreement.  The budget will include items categorized in terms of (i) Base Cost of Operations; (ii) Outage Maintenance Cost; (iii) Non Outage Maintenance Cost and (iv) Other which are further defined as follows:

    - Base Cost of Operations includes unavoidable costs that are independent of the levels of operation, outages and non-outage maintenance.

    - Outage Maintenance would include cost attributable to scheduled outages and/or inspections occurring during the term of the RMR Agreement.  Maintenance alternatives available during any scheduled outage will be presented to ERCOT for determination of the alternative to be performed and paid for under the RMR Agreement.  The RMR Resource Owner will present ERCOT with each a budget for each option, benefits of each alternative, unit availability impact associated with not performing each alternative and a recommendation to facilitate ERCOT’s selection process.

    - Non-Outage Maintenance would include non-reoccurring expenses that are independent of a particular scheduled outage.  Non-outage maintenance alternatives available during any scheduled outage will be presented to ERCOT for determination of the alternative to be performed and paid for under the RMR Agreement.  The RMR Resource Owner will present ERCOT with each a budget for each option, benefits of each alternative, unit availability impact associated with not performing each alternative and a recommendation to facilitate ERCOT’s selection process.

    - Other budget items will include items not clearly identifiable to the previous three categories.

- 30 Days after receipt of the preliminary non-fuel budget, ERCOT shall notify the RMR Resource Owner of its selections under the alternatives provided in the Preliminary Budget.  The RMR Resource Owner and ERCOT will set the Target Availability consistent with the options presented to and selected by during the budgeting process, but not greater than 85%.

- The RMR Unit owner will provide ERCOT with actual eligible costs on a monthly basis in a level of detail sufficient for ERCOT to verify that all eligible costs are appropriate.  ERCOT will true-up of the eligible costs for the RMR Unit on a schedule determined during the RMR contract  negotiations such that, for the duration of the RMR Agreement. Actual eligible costs incurred by the RMR Unit will be used for True-up Settlement.

- Documentation to be provided by an RMR Resource Owner to allow ERCOT to verify submitted costs to ERCOT for payment will be based on mutual agreement between the RMR Resource Owner and ERCOT or through specific documentation standards outlined in the Protocols.  Absent specifically identified documentation requirements mutually agreed to by the parties or outlined in the Protocols, the RMR Resource Owner will provide an affidavit attesting that the cost figures being submitted represent cost attributable to the cost of operating the RMR Resource

- The Incentive Factor for annual RMR Agreements and RMR Agreements exceeding twelve months is equal to 10% of the actual eligible costs incurred by the RMR Unit for the duration of the RMR Agreement.  The Incentive Factor will be paid at the same time as the actual eligible costs.

- The Incentive Factor for RMR Agreements for the Minimum Agreement Period is equal to 2% of the actual eligible costs incurred by the RMR Unit for the duration of the RMR Agreement.  The Incentive Factor will be paid at the same time as the actual eligible costs.

- The Incentive Factor may be further reduced if the RMR Unit fails to perform to the contracted capacity during a Capacity Test as described in the RMR Agreement.  The reduction will be linear, with a two-percent (2%) reduction in the standby fee for every one-percent (1%) of reduced capacity.

- During the term of an RMR Agreement, in the event that major equipment modifications are required in order for the RMR Unit to provide RMR Service (such as installation of SCR equipment to meet NOx limitation requirements), ERCOT and the Generation Entity, may negotiate an alternate Standby Price and/or term longer than one year.

- The Incentive Factor may be reduced if the RMR Unit fails to perform at the Target Availability for a rolling six-month average. The reduction will be linear, with a two-percent (2%) reduction in Incentive Factor for every one-percent (1%) that availability is less than the Target Availability of the contracted capacity.

### Partial Payments

In the event one or more Invoice Recipient(s) owing monies did not pay in full (short payment) ERCOT will follow the procedure set forth below:

- ERCOT will make every reasonable attempt to collect payment from the short-paying Invoice Recipient(s) prior to one hour preceding the close of bank Business Day CPT on the day that the payment by ERCOT is disbursed to the Invoice Recipient(s).

- ERCOT will draw on any available security posted by the QSE(s) who did not pay the amount due.

- ERCOT will attempt to draw on any available line of credit to cover payment shortages.

- If, after executing any available line of credit, there is still insufficient funds available for ERCOT to pay all amounts in full (total short pay amount), ERCOT will deduct ERCOT administrative fees as specified in Section 9.6 and payments for RMR services, Settlement Charges from the amount received and then reduce payments to all Invoice Recipients that are owed monies except for monies owed for RMR services. The reductions will be based on a pro rata basis of monies owed to each ERCOT creditor for services other than RMR services in the settlement process for each Settlement Invoice to the extent necessary to clear ERCOT’s accounts to the extent possible on the payment date to insure revenue neutrality for ERCOT. ERCOT shall distribute past due funds on a pro rata basis of monies owed on the next Business Day after receipt of the monies, when sufficient funds for the relevant Operating Day are available in this settlement process.

After a short pay occurrence and when all reasonable collection efforts have been exhausted by ERCOT, if sufficient funds continue to be unavailable for ERCOT to pay all amounts in full to the short paid Entities, the total short pay amount will be collected from the QSE’s representing LSEs, on a Load Ratio Share basis, and paid to the QSEs that were previously short paid.