PRS Items for TAC

May 8, 2003 Meeting

PRS recommended approval of the following:

- 362PRR - Load Profiling ID Type Correction, approved as submitted.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Allows changes for Load Profile IDs to be made in ERCOT’s billing system not registration.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 371PRR – Minimum Energy OOME When OOMC Issued, pending outcome of the May 5th PRS meeting.

  - Impact Analysis:  Impacts the ERCOT computer systems.

  - Benefit:  Implements a mandatory minimum OOME instruction for the same intervals that OOMC instructions are issued to a unit, to ensure that the QSE does not bear the cost of the difference between market pricing and unit production costs.

  - Recommended Priority & Rank:

  - Recommended effective date:  Upon system implementation.

- 381PRR – Update QSE Designation, approved as revised.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Clarifies the process and timeline for a QSE to terminate its designation for an LSE or Resource Entity.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 382PRR – Settlement Statement Suspension, approved as revised.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Allows the Board to suspend Settlement Statements.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.
Note:  Please review the PRS Recommendation dated 3/20/03 and comments submitted by Green Mountain dated 4/13/03

- 385PRR – DLC Implementation, approved as amended.

  - Impact Analysis:  Impacts the ERCOT computer systems.

  - Benefit:  This PRR provides clarification to an existing DLC project.

  - Recommended Priority & Rank: same as PIP106

  - Recommended effective date:  Upon system implementation.

- 386PRR – Scheduling Information, approved as submitted.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Clarification, added text “where applicable” to indicate that not all services are deployed by zone and the services that are deployed by zone will be reported by zone.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 392PRR – Posting BE Forecast – PIP138, approved as submitted.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Eliminates the need for a software revision.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 393PRR – Balancing Energy Bid Expiration Time-PIP147, approved as submitted.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Eliminate the need for software revision.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 394PRR – Balancing Energy Ramps as Instructed Deviation, approved as amended.

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Reflects how the system treats Balancing Energy ramps outside of the target Settlement Interval.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 396PRR – RMR Issues, approved as revised by PRS.

  - Impact Analysis:  Impacts the ERCOT computer systems and requires a manual process.

  - Benefit:  This PRR revises the guidelines and compensation for Reliability Must Run Service.

  - Recommended Priority & Rank: recommendation pending from PRS

  - Recommended effective date:  1 June 2003.

- 398PRR – Combined Cycle Settlement, approved as submitted.

  - Impact Analysis:  Impacts the ERCOT computer systems; this is related to PRR369.

  - Benefit:  Changes the way instructions to combined cycle plants are settled to more accurately reflect the operational interdependencies of these plant technologies.

  - Recommended Priority & Rank:  Same as PRR369

  - Recommended effective date:  Upon system implementation.

- 400PRR – Provisional Approval for LaaRs, approved as submitted.

  - Impact Analysis:  Impacts the ERCOT computer systems, in part, this PRR is related to PIP112.

  - Benefit:  Allows loads to begin participating in the market as soon as their loads meet all telemetry and calibration testing until such time as an actual load interruption test can be scheduled with ERCOT and the load facilities.

  - Recommended Priority & Rank:  Same as PIP112

  - Recommended effective date:  Upon system implementation.

- 401PRR – Partial Payments & Credit, approved as revised.

  - Impact Analysis:  No impact to the ERCOT computer systems; this is a manual process.

  - Benefit:  Updates ERCOT’s calculation of each QSE’s Total Estimated Liability and Estimated Aggregate Liability; and clarifies that ERCOT has the ability to offset amounts owed to and from a QSE that does not remit a payment in a timely manner.

  - Recommended Priority & Rank:  N/A

  - Recommended effective date:  1 June 2003.

- 403PRR – URC Update for New Smoothing Algorithm, approved as submitted.

  - Impact Analysis:  Impacts the ERCOT computer systems.

  - Benefit:  Clarifies and describes in detail the changes to the URC equation as a result of the implementation of PRR 350.  Specifically describes how to treat DC Tie Schedules when calculating the schedule to be used in the URC calculation.

  - Recommended Priority & Rank: Recommendation pending from PRS

  - Recommended effective date:  Upon system implementation.

# Rejected PRRs:

- 390PRR – Transmission Interconnection Requirement.

- 407PRR – Sunset Date Removal for RBS.

# Urgent Timeline recommended:

- 398PRR – Combined Cycle Settlement (also included above for approval)

- 400PRR – Provisional Approval for LaaRs (also included above for approval)

- 401PRR – Partial Payments & Credit (also included above for approval)

- 403PRR – URC Update for New Smoothing Algorithm (also included above for approval)

- 407PRR – Sunset Date Removal for RBS (also included above as rejected by PRS)

Recommended Timeline for PRRs 398, 400, 401, 403, & 407

Comments due:	4/23/2003

PRS Review:	4/25/2003

Comments on PRS Recommendation:	5/06/2003

TAC Consideration:	5/08/2003

Board Consideration:	5/20/2003

- 406PRR – Two Year CSC & Zone Selection

Comments due:	5/09/2003

PRS Review:	5/22/2003

Comments on PRS Recommendation:	6/02/2003

TAC Consideration:	6/05/2003

Board Consideration:	6/17/2003

# Withdrawn PRRs:

- None.

# PRRs Provided for Information:

- 384PRR – Code of Conduct and Preamble [renamed]

  - Impact Analysis:  No impact to the ERCOT computer systems.

  - Benefit:  Outlines a Preamble for the ERCOT Protocols and code of conduct requirements for Market Participants.

  - This PRR is provided to TAC for information purposes.  PRS has discussed and made changes to the language that was originally submitted.  The original PRR also included language related to ERCOT issuing Advisory Opinions.  That language has been removed from this PRR and is the subject of a new PRR411.  PRS is providing the current version to TAC for comment and will discuss this PRR, and any additional comments, again at its May 22nd meeting.

--------------------------------------------------------------------------------------------------------------

# PRRs approved for future TAC review:

- 391PRR – Waiver Recipients Must Designate an LSE, approved as submitted.  Pending ongoing comment period on the PRS recommendation, comments are due May 20, 2003.  TAC review:  June 5, 2003.

- 397PRR – McCamey Area Congestion Management, approved as revised.  Pending ongoing comment period on the PRS recommendation, comments are due May 20, 2003.  TAC review:  June 5, 2003.

# Status of pending PRRs:

- 281PRR – Aggregate Site Instructions (previously, Change ERCOT Deployment Instructions to Settlement Meter Specific).  A revised version was submitted on 5/24/02; this PRR is on a normal timeline, PRS referred to the QSE Project Managers Working Group for comment and has deferred consideration.

- 293PRR – Uncontrollable Renewable Resources, pending ongoing review by WMS working groups.  The PRR language is being revised.

- 320PRR – Loads Participation in AS Market.

- 340PRR – Define OOME as an Instructed Deviation; pending redrafting of the proposed language to keep the market solution language, integrate generic costs and remove references to aggregate site deployments and OOME being an instructed deviation.

- 356PRR – SCE Performance Requirement, on hold pending review by PRS task force.

- 358PRR – Negative Impact SCE, on hold pending review by PRS task force.

- 399PRR – Requirements for Replacing an IDR with a Non-IDR Meter.  Remanded to RMS for review and comment.

- 402PRR – Delete Good Friday Holiday.  Pending initial comment period; comments due May 5, 2003.

- 404PRR – Energy Procured from ERCOT.  Pending initial comment period; comments due May 8, 2003.

- 405PRR – RPRS Under Scheduled Capacity (PIP132).  Pending initial comment period; comments due May 19.

- 406PRR – Two Year CSC & Zone Selection.  Pending initial comment period; comments due May 9, 2003.

- 408PRR – HVDC Tie Schedule Data.  Pending initial comment period; comments due May 15, 2003.

- 409PRR – Voltage Support Service.  Pending initial comment period; comments due May 19, 2003.

- 410PRR – Resource Obligations During BLT.  Pending initial comment period; comments due May 19, 2003.

- 411PRR – Protocols Clarification Request.  Pending initial comment period; comments due May 20, 2003.

Projects Prioritized:

- 371PRR – Minimum Energy OOME When OOMC Issued:

- 385PRR – DLC Implementation:

- 398PRR – Combined Cycle Settlement:

- 400PRR – Provisional Approval for LaaRs:

- 403PRR – URC Update for New Smoothing Algorithm: