ERCOT Meter Working Group Meeting

ERCOT Taylor Office

2705 West Lake Blvd., Taylor Texas

April 30, 2003; 9:30 A.M. – 3:30 P.M. **

| - Field testing of MOCT’s |  |
| --- | --- |
| - TDSP Cutover Form |  |
| - MWG Procedures Document |  |
| - Installation of IDR's to Support ERCOT's load profiling activities |  |
| - MV90 proposed upgrade date May 21, 2003 |  |

##### Meeting Minutes

- Field testing of MOCTs

  - A one Arbiter test has been reviewed by manufacturers and field tested by TDSP’s.  The method results in test that can establish accuracies down to the levels required for EPS Metering and is considered acceptable.  The group preference is that this method be utilized as a comprehensive system test until empirical data is gathered that may demonstrate otherwise or other methods are found that would be acceptable.

  - Questions that remain to be discussed:

    - What procedures should a TDSP follow when conducting this test?

    - What are acceptable testing points on the manufacturers’ accuracy curves for MOCT’s that would establish that the MOCT is performing satisfactorily?

    - What should the minimum requirements be for certification of the equipment used to test the MOCT’s with?

- TDSP Cutover Form

  - The group discussed the form and finalized it.  Changes were made to the “TDSP Verification of Resource Entity Documentation Compliance” section and the “TDSP Verification of Resource Agreement with TDSP Proposed Cutover Date”.  The form will be sent to the MWG and posted on the ERCOT website under the Settlement Metering link.

  - ERCOT will notify TDSP’s when the form has been posted.

  - All agreed that after posting the form will be used to track cutovers.

  - Don Tucker will ask ERCOT Client Services for input on Market Notification needs.

- MWG Procedures Document

  - The procedures were finalized by the group and the final version will be sent via email to the MWG.  The final version will be presented by the Chair at the next available WMS meeting.

- Installation of IDR's to Support ERCOT's load profiling activities

  - Carl Raish presented t the group an overview of the procedures that are in place for the establishment and revision of load profiles utilized in the ERCOT settlement process.  He also discussed the plans for load research and UFE profiling with the group.

- Patrick Vinton informed the group of the upcoming MV90 upgrade proposed for May 21, 2003.