| OGRR Number | 130 | OGRR Title | Automatic Voltage Regulator (AVR) and Power System Stabilizers (PSS) Status Reporting Requirements |
| --- | --- | --- | --- |
| Date | May 8, 2003 |
| Submitter’s Information |
| Name | Ellis Rankin |
| E-mail Address | erankin@oncor.com |
| Company | Oncor |
| Company Address | 2233B Mountain Creek Pkwy Dallas TX 75244 |
| Phone Number | 214 743 6825 |
| Fax Number | 972 263 6710 |

Comments

Need to add Transmission Operator for notification in 2.2.4

This notification could come from ERCOT

This is needed for TOP to monitor operating conditions of its system for reliability