| OGRR Number | 130 | OGRR Title | Automatic Voltage Regulator (AVR) and Power System Stabilizers (PSS) Status Reporting Requirements |
| --- | --- | --- | --- |
| ###### Date |  | May 8, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Ellis Rankin |  |
| E-mail Address |  | erankin@oncor.com |  |
| Company |  | Oncor |  |
| Company Address |  | 2233B Mountain Creek Pkwy Dallas TX 75244 |  |
| Phone Number |  | 214 743 6825 |  |
| Fax Number |  | 972 263 6710 |  |

Comments

Need to add Transmission Operator for notification in 2.2.4

This notification could come from ERCOT

This is needed for TOP to monitor operating conditions of its system for reliability