| PRR Number | 407PRR | PRR Title | Removal of Sunset Date to Suspend or Limit Relaxed Balanced Schedules |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Proposed Effective Date |  | June 1, 2003 |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | N/A |  |
| Benefit |  |  |  |
| PRR Background |  | ## The change removes the sentence that would restrict ERCOT from initiating a limitation or suspension of relaxed Balanced Schedules and clarifies that ERCOT may consider financial integrity issues in such limitation or suspension. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS approved the urgent timeline and then recommended that PRR407 be rejected. |  |
| ###### Technical Advisory Committee Recommendation |  | TAC recommends approval as revised by TAC. (Note: The original PRR struck the last sentence in the third paragraph in Section 4.3.5. TAC’s recommendation is to strike the entire third paragraph.) |  |

Recommended Language

4.3.5	Requirement for Balanced Schedules

A QSE shall submit to ERCOT only Balanced Schedules, for both energy and Ancillary Services, in the Day Ahead Scheduling Process and the Adjustment Period. If a QSE submits a schedule that is not a Balanced Schedule, ERCOT shall reject that schedule in accordance with Section 4.4.13, ERCOT Day Ahead Ancillary Services Procurement Process.

QSE s may relax their Balanced Schedules by projecting interval Supply and setting aggregate Obligations equal to aggregate Supply, however, Inter-QSE Trades must still match in accordance with Section 4.7.2, Schedule Validation Process.  ERCOT Operations may commit Resources, as required, to maintain the balance of Loads and Resources on a system-wide and zonal basis; including, but not limited to, the commitment of Replacement Reserves, following the Day-Ahead and during the Adjustment Period, to assure the adequacy of Balancing Energy Services.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| AEP | Expressed objection to revision. |
| ERCOT | Provided clarification to the intent of the PRR. |
| Garland P&L | Agreed with ERCOT. |
| STEC | Agreed with ERCOT & Garland P&L. |
| Dynegy | Agreed with AEP. |
| CPS | Stated that having a sunset date conflicted with other sections of the Protocols. |
| ## Sponsor |  |
| Name | Cheryl Moseley |
| E-mail Address | cmoseley@ercot.com |
| Company | ERCOT |
| Company Address | 7620 Metro Center Drive |
| Phone Number | 512 225 7057 |
| Fax Number | 512 225 7020 |