APPROVED – 05/14/03

MINUTES OF THE ERCOT RELIABILITY AND OPERATIONS SUBCOMMITTEE (R0S) MEETING

Hilton Austin Airport Hotel

Austin, Texas

- April 9, 2003

- Chair David Darnell called the meeting to order on April 9, 2003 at 9:35 a.m.

- Attendance:

| Kunkel, Dennis | AEP | Member |
| --- | --- | --- |
| Treece, Jim | AEP | SSWG Chair |
| Armke, James | Austin Energy | Member |
| Ebrahimian, Reza | Austin Energy | DWG Chair |
| Kelly, Robert | Brazos Electric Coop | Member Representative (for Ryno) |
| McCann, James | Brownsville PUB | Member Representative (for Leal) |
| Jones, Randy | Calpine | Member |
| Jonte, John | CenterPoint | Guest |
| Rocha, Paul | CenterPoint | Member |
| Reid, Walter | Cielo Power | Guest |
| Greer, Clayton | Constellation | Member Representative (for Melendez) |
| Darnell, David A. | CPS | Member/ROS Chair/PARWG Chair |
| Wheeler, Ron | Dynegy | Member |
| Adams, John | ERCOT | Staff |
| Caylor, Lee | ERCOT | Staff/NDSWG Chair |
| Coon, Patrick | ERCOT | Staff |
| Donohoo, Ken | ERCOT | Staff |
| Grimm, Larry | ERCOT | Staff |
| Henry, Mark | ERCOT | Staff |
| Myers, Steve | ERCOT | Staff |
| Poston, Ralph | ERCOT | Staff |
| Santos, Juan S. | ERCOT | Staff |
| Williams, Carl | Exelon | Guest |
| Yates, Shon | Exelon Generation | Member |
| Knower, Bridget | Flint Hills Resources | Member |
| Surniak, Greg | Flint Hills Resources | Guest |
| Garza, Beth | FPL Energy | Member Representative (for Villar) |
| Owens, Frank | Garland | Member Representative (for Breitzman) |
| Neeley, Jim | GDS/Tex-La | Guest |
| Hatfield, Bill | LCRA | Member Representative (for Nelson) |
| Thormahlen, Jack | LCRA | Guest |
| Anderson, Bo | NEG Micon USA | Guest |
| Goodwin, Mark | NEG Micon USA | Guest |
| Juricek, Mike | Oncor | Guest |
| Rankin, Ellis | Oncor | Member |
| Westbrook, Lee | Oncor | RCVCTF Chair |
| Schubert, Eric | PUCT | Guest |
| Reece, Eddy | RCEC | Guest |
| Keetch, Rick | Reliant Resources | Member/ROS Vice Chair/OWG Chair |
| Garrett, Mark | Republic Power | Member |
| Wood, Henry | STEC | Member/FCTF Chair |
| Rodriguez, Larry | TECO Energy Source | Member |
| Helyer, Scott | Tenaska | Member |
| McDaniel, Rex | TNMP | Member |
| Bell, Wendell | TPPA | Guest |
| Niemeyer, Sydney | TxGenco | PDCWG Chair |
| Ryan, Martin | TxGenco | Guest |
| Cunningham, Lance | TXU Energy | Guest |
| Peterson, Tom | TXU Energy | Guest |

Approval of March 12, 2003 Meeting Minutes

A motion was made by Randy Jones and seconded by Bridget Knower to approve the draft March 12, 2003 ROS Meeting Minutes as distributed for the meeting.  The motion was approved by a unanimous voice vote.

TAC Report

David Darnell briefly reported on the April 3rd TAC Meeting.  The TAC approved OGRRs 127 and 128.  The ROS was asked to review the EECP to determine if it can be implemented when gas curtailments begin to occur.  This would allow oil burning to start in environmentally sensitive (non-attainment) areas.

For details, the TAC Meeting Minutes are posted on the ERCOT Web Site.  The next TAC Meeting is scheduled for May 8th.

Reactive Compensation/Voltage Control Ad Hoc Task Force (RCVCTF) Report (see Attachment)

Lee Westbrook discussed a draft ERCOT Voltage and Reactive Requirements and Compliance Monitoring Document.  Westbrook reviewed the need for the standard, past standard development difficulties, past advantages, interim standard negative perceptions, objectives, RCVCTF approach, and technical facts.  The document provides Generator and QSE Requirements; TDSP Requirements; ERCOT Requirements; and Generator, QSE, Distribution Service Provider (DSP), and Transmission Service Provider (TSP) Compliance.  Westbrook noted that there were several decisions that needed to be made by the ROS and reviewed the options.  Compliance monitoring and enforcement of the “Standard” will likely be a significant issue.

The ROS discussed the sections related to the “Generator and QSE Requirements”.

- “Application” Section:

  - Discussed linkage between operating requirements and capability requirements.

  - ERCOT Staff noted that the “Standard” should apply to all generators, existing and new units (no “grandfathering”).  The ROS discussed at length with most participants in favor of “grandfathering”.  These participants believe that retrofitting old generating units to meet the standards would be very expensive and in some cases require lengthy outages.

  - A motion was made by Henry Wood and seconded by Randy Jones to approve the language (3 Bullets) as presented.  The motion was approved (see Roll Call Vote 1).

    - “Installed Capability Requirements” Section:

  - Some concern was expressed that the transmission system voltage profile could change and subsequently change a generating unit’s requirements.

  - Considerable discussion about the treatment of wind generators and the technology available to this type of generator that can be installed so they can provide reactive power.  This technology is not widely available (currently a single source).

  - A motion was made by Beth Garza and seconded by Bill Hatfield to approve the “Gold” language (Choice #1) as presented.  The motion failed (see Roll Call Vote 2).

  - A motion was then made by Mark Garrett and seconded by Dennis Kunkel to approve the “Gray” language (Choice #1) as presented.  The motion was approved (see Roll Call Vote 3).

  - Discussed the non-shaded language in the section.  There was concern expressed about some of the language.  It was noted that the issue would be further discussed at the WMS and TAC.

  - A motion was then made by Henry Wood and seconded by Ron Wheeler to approve the non-shaded language as presented.  The motion was approved (see Roll Call Vote 4).

- “Operating Requirements” Section:

  - Discussed the conditions listed under Bullet 4.

  - A motion was made by Henry Wood and seconded by Beth Garza to delete Bullet 4 and refer items a. through e. in Bullet 4 to the OWG to be addressed by the OGRR Process.  The motion was approved by a unanimous voice vote.

  - The last bullet was then discussed related to reducing high reactive loading on an individual generator.

  - A motion was made by Beth Garza and seconded by Ellis Rankin to approve Bullets 1, 2, 3, and 5 as presented.  The motion was approved by a unanimous vote.

    - “Information Supply Requirements” Section:

  - A motion was made by Henry Wood and seconded by Paul Rocha to approve the language as amended (delete the words “frequency, or loading” from Bullet 3).  The motion was approved by a unanimous voice vote.

- “Generator and QSE Compliance Monitoring” Section:

  - The distribution path of unit reactive capability tests was specifically discussed and it was suggested that Bullet 1 be amended.  After discussing at length, Bullets 2 and 3 were also amended.

  - A motion was made by Scott Helyer and seconded by Paul Rocha to approve the language as amended (Bullets 1, 2, & 3 modified).  The motion was approved by a unanimous voice vote.

The ROS then discussed the sections related to the “TDSP Requirements”.

- “Application” Section:

  - A motion was made by Larry Rodriguez and seconded by Ellis Rankin to approve the language as presented.  The motion was approved by a unanimous voice vote.

    - “Installed Capability Requirements” Section:

  - There was a considerable amount of discussion related to the power factor requirements for DSPs and what costs can be recovered in TCOS.

  - A motion was made by Larry Rodriguez and seconded by Henry Wood to approve the “Gold” language (Choice #2) as presented.  The motion failed (see Roll Call Vote 5).

  - A motion was then made by Clayton Greer and seconded by Randy Jones to approve the “Gold” language (Choice #2) as amended (changing 0.95 to 0.97 in Bullet 1).  The motion was approved (see Roll Call Vote 6).

  - A motion was made by James Armke and seconded by Paul Rocha to strike the “Choice #3 Gray” language (also see below - “TDSP Compliance Monitoring Section – TSP Compliance Monitoring).  The motion was approved (see Roll Call Vote 7).

  - A motion was also made by Beth Garza and seconded by Clayton Greer to approve the non-shaded language as presented.  The motion was approved by a unanimous vote.

- “Operating Requirements” Section:

  - A motion was made by Paul Rocha and seconded by Henry Wood to approve the language as amended (delete all but first sentence of Bullet 1 and add a new second sentence).  The motion was approved by a unanimous vote.

    - “Information Supply Requirements” Section:

  - A motion was made by Paul Rocha and seconded by Dennis Kunkel to approve the language as presented.  The motion was approved by a unanimous voice vote.

- “TDSP Compliance Monitoring” Section – DSP Compliance Monitoring:

  - A motion was made by Bridget Knower and seconded by Ellis Rankin to approve the “Gray” language (Choice #4) as presented.  The motion was approved by a unanimous voice vote.

  - A motion was made by Clayton Greer and seconded by Randy Jones to approve the non-shaded language as amended (delete Bullet 3).  The motion was approved by a unanimous voice vote.

    - “TDSP Compliance Monitoring Section – TSP Compliance Monitoring:

  - A motion was made by Clayton Greer and seconded by Dennis Kunkel to approve the “Choice #5 Gray” language (“Choice 3 Gray” language previously struck) as amended.  The motion was approved by a unanimous voice vote.

  - A motion was made by Beth Garza and seconded by Randy Jones to approve the non-shaded language as amended.  The motion was approved by a unanimous voice vote.

- “ERCOT Requirements” Section:

  - A motion was made by Clayton Greer and seconded by Randy Jones to approve the language as presented.  The motion was approved by a unanimous voice vote.

It was noted that since this document puts requirements on Market Participants, it should be placed in the Protocols or Operating Guides, and not be a stand-alone document.  David Darnell noted that he would be distributing the draft ERCOT Voltage and Reactive Requirements and Compliance Monitoring Document (see Attachment) to the WMS for review and comment.

Dynamics Working Group (DWG) Report

David Darnell noted that an e-mail vote would be conducted on several DWG issues.

Frequency Control Task Force (FCTF) Report

Henry Wood distributed a FCTF Report (see Attachment).  The report contained one initial recommendation.

NERC Operating Limit Definition Task Force

Steve Myers distributed a report from the NERC Operating Limit Definition Task Force (OLDTF) to the NERC Operating Committee (OC).  The OC has endorsed the recommendations in the report and has directed Reliability Coordinators to implement them this summer as a field test.  ERCOT will be using the definitions and will base proposed revisions to the ERCOT Operating Guides related to ratings on the OLDTF recommendations.

## Future ROS Meetings

The next ROS Meeting is scheduled for May 14, 2003 from 9:30 a.m. to 4:00 p.m. to be held at the ERCOT Austin Office.  Additional meetings are scheduled for June 11th and July 9th.

- There being no further business, David Darnell adjourned the ROS Meeting at 3:50 p.m. on April 9, 2003.