| PRR Number | 404PRR | PRR Title | Energy Procured from ERCOT |
| --- | --- | --- | --- |
| ###### Recommended Action |  |  |  |
| Proposed Effective Date |  |  |  |
| Priority & Rank Assigned |  |  |  |
| Summary of Impact Analysis |  |  |  |
| Benefit |  | Expands the functionality of Relaxed Balanced Schedules by allowing Market Participants to schedule up to 500MW of generation from ERCOT. |  |
| PRR Background |  | ## This PRR provides for the procurement of balancing energy from ERCOT. |  |
| Protocol Revision Subcommittee Recommendation |  | PRS recommends |  |

Recommended Language

### 4.3.2	Schedule Components

Included in each Balanced Schedule is:

- Energy to be produced by Resources that the QSE represents, or procured from ERCOT, by Congestion Zone;

- Energy to be consumed by Loads that the QSE represents (including T&D Losses) by Congestion Zone;

- ERCOT allocated Ancillary Services Obligations for the QSE;

- Any energy and Ancillary Services scheduled to or from other QSEs(e.g. Inter-QSE Trades); and

- Any energy scheduled from ERCOT.  Energy scheduled from ERCOT shall be limited to 500MW system wide.

- Any Ancillary Services scheduled to or from ERCOT

- Any Self-Arranged Ancillary Services.

When relaxed Balanced Schedules are allowed by ERCOT, pursuant to Section 4.3.5, Requirement for Balanced Schedules, the requirement for subpart (2) above shall be relaxed and QSEs shall be allowed to schedule energy for Load that is equivalent to the amount of scheduled energy for Resources as specified in subpart (1) above.

| PRR Evaluation |  |  |
| --- | --- | --- |
| Non-ERCOT Market Comparison |  | No Comparison conducted. |
| Comments Author |  | Comments Summary |
|  |  | None submitted. |
| ## Sponsor |  |  |
| Name | Cesar Seymour |  |
| E-mail Address | cseymour@tractebelusa.com |  |
| Company | Tractebel Energy Marketing |  |
| Company Address | Houston, TX 78744 |  |
| Phone Number | 713/350-1734 |  |
| Fax Number |  |  |