| PRR Number | 412PRR | PRR Title | Distributed Generation With No Energy Export |
| --- | --- | --- | --- |
| ###### Date |  | 05/27/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Dan Jones |  |
| E-mail Address |  | dljones@cps-satx.com |  |
| Company |  | City Public Service of San Antonio |  |
| Company Address |  | 401 W. 15th Street, Suite 800 Austin, TX |  |
| Phone Number |  | (512) 477-7601 |  |
| Fax Number |  | (512) 477-5329 |  |

Comments

### Protocols Clarification Related to PRR 412

### PRR 412 was submitted with the purpose of clarifying certain requirements in Section 10 of the ERCOT Protocols.  In particular, clarification was sought regarding the ERCOT metering requirements for the following scenario:

A Distributed Generation facility (i.e., a facility satisfying the definition of Distributed Generation contained in Section 16.5 of the ERCOT Protocols) is located on the customer’s side of the Service Delivery Point of a retail customer of a NOIE.  The DG facility will never export power to the ERCOT System.

Section 10.2.2 of the ERCOT Protocols states as follows:

### TDSP Metered Entities

TDSPs are responsible for supplying ERCOT with meter data associated with:

- All Loads using the ERCOT System;

- Generation delivering less than 10 MW to the ERCOT System and is connected directly to the distribution system; except for (a) Generation Resources owned by a NOIE and used for NOIE’s self use (not serving Customer Load); and (b) renewable Generation Resources with a design capacity less than 50 kW interconnected to a TDSP and are not registered as a Generation Resource with ERCOT.

Under the scenario described above, zero generation is delivered to the ERCOT System.  Further, the configuration described in this scenario is not connected directly to the distribution system.  For these reasons, the TDSP is not responsible for supplying ERCOT with meter data associated with the Distributed Generation facility.

With this clarification, the proposed revisions contained in PRR 412 are unnecessary.