Key Points for the Small Signal Stability Analysis Scope

- The objective of this project is to perform an analysis of the present settings of Power System Stabilizers (PSS) on the ERCOT system, to determine if it is necessary to make changes to the settings as recommended by PowerTech in their Small Signal Stability study.

- The following questions need to be answered for the Dynamics Working Group to issue a recommendation on setting of power system stabilizers:

- Which set of PSS settings provide adequate damping for the High west-east scenario?

- Which set of PSS settings provide adequate damping for the High south-north scenario?

- The time frame of interest is the 2004 Summer Peak.

- DWG members do not have license to a copy of the Powertech’s SSAT software

- An operational issue, the number of PSS’s required to be in service at each transfer level, is much more involved, and will be addressed in a subsequent set of studies, with a separate scope.

SCHEDULE

|  | Week 1 | Week 2 | Week 3 | Week 3 | Week 4 | Week 5 | Week 6 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Task 1 | XXX |  |  |  |  |  |  |
| Task 2 | XX |  |  |  |  |  |  |
| Task 3 |  | XXX |  |  |  |  |  |
| Task 4 |  |  | XX |  |  |  |  |
| Task 5 |  |  |  | DWG | DWG |  |  |
| Task 6 |  |  |  | DWG | DWG |  |  |
| Review and approval |  |  |  |  |  | DWG ERCOT | DWG ERCOT |

Assume 8 hours per day X = one day