| OGRR Number | 134 | OGRR Title | Calculation of Transmission Equipment Limits |
| --- | --- | --- | --- |
| Date | May 30, 2003 |
| Submitter’s Information |
| Name | Eugene G. Preston |
| E-mail Address | g.preston@ieee.org |
| Company | Transmission Adequacy Consulting |
| Company Address | 4710 Fawn Run Austin, TX 78735 |
| Phone Number | 512-892-3621 512-750-6417 cell |
| Fax Number | 512-891-8045 |

Wind ATC studies I have recently performed for the western region are complicated by differences in rate B and rate C definitions used by AEP and Oncor in the load flow data files.

As I read it, OGRR 134 defines the following:

Rate A is the normal continuous rating (suitable for ATC N-0 condition).

Rate B is an emergency two hour rating (suitable for ATC N-1 contingencies).

Rate C is an emergency rating suitable for special protection schemes.

I am in favor of adopting an ERCOT wide standard definition for rates A B and C even if the definitions differ somewhat from those listed above.

Eugene G. Preston, PE, PhD

Transmission Adequacy Consulting

4710 Fawn Run   Austin, TX 78735

http://EGPreston.com/

g.preston@ieee.org

512-892-3621 office

512-750-6417 cell

512-891-8045 fax