# 8	Outage Coordination

    - Role of ERCOT

### 8.1.3.2 	Rolling Twelve Month Outage Planning and Update

- ERCOT will coordinate and approve or reject changes to existing twelve (12) month Resource Outage plans or proposed Resource Outages requested less than thirty (30) days prior to the scheduled start date. (Reliability Window )

### Single Point of Contact

- Changes to Single Point of Contact shall be reported on a Notice of Change of Information (NCI) form when a Single Point of Contact changes

- Definition for Single Point of Contact added.

### 8.2.4	Reporting for Planned Outages and Unplanned Outages of Resource Facilities

- Statement for using ERCOT Procedures when submitting Resource Outage information . (Duplicate of statement used in Transmission Section 8.3 )

8.4	Approval of Proposed Planned Outages of Resources

- ERCOT approval is required for all Outage programs requests made less than thirty (30) days prior to the proposed Outage start date.

- Outage will be approved if applicable reliability standards are met.

- ERCOT shall  transmit its approvals and rejections via the ERCOT Outage Scheduler.

8.4.1	Information for Inclusion in Resources Entity Outage Requests Additional Information needed on request form

- Primary & Alternate Phone numbers

- Nature of work being performed

#### 8.4.3	Changes to a Resource Outage Plan

- All Resource Entities shall notify ERCOT of any changes to a Resource Outage plan that affects activities scheduled to occur within the next 30 days (reliability window).

- ERCOT shall accept all changes to Resources Outage plans as submitted without comment except as otherwise provided in this Section.

- ERCOT will accept without comment all changes to a Resource Outage plan submitted by a Resource Entity more than thirty (30) days before the scheduled start date for the Outage.

- ERCOT will approve/reject all changes to Resource Outage plans ( less than thirty (30) days before the scheduled start date for the Outage  (reliability window).

    - Timelines for Response by ERCOT

- ERCOT approval timelines for response for outage requests within Reliability Window

- Duplicate of general statements from Transmission section

    - suggested amendments that might allow approval if rejected

    - outage is not approved until after ERCOT notification is received.

### 8.4.5	 Delay

- Duplicate from Transmission stating that approval or rejection can be delayed if insufficient information is not provided,

### Approval of RMR Unit, Synchronous Condenser Unit or Black Start Resource Outages

- Reliability Units defined

- Timeline for Reliability units

8.5.1 Timelines for response by ERCOT (12-Month Outage Programs)

- Outage requests received greater than 45 days before start date of Outage

•Approve/reject 30 days before start date

- Outage requests received no less than 30 days before start date of Outage

•Approve/Reject 15 days before start date

Other repairs that are needed

- Outage requests received between 3 & 8 days before start date of Outage

•Approve/reject 2 days before start date

- Outage requests received between 9 & 30 days before start date of Outage

•Approve/reject 4 days before start date

    - Changes to an Approved Reliability Resource Outage Plan

- A Change Request Form can be submitted 30 days before start date of Outage

- ERCOT will Approve/reject a Change Request 15 days after receipt

  - Management of All Resource Outages

### Rejection of Proposed Resource Outages

- Guidelines that ERCOT must follow when rejecting an outage request.

### Withdrawal of Previously Granted Outage Approval(s)

- Guidelines that ERCOT must follow when withdrawing an approved outage request.

### 8.6.3	 Deratings

- Deratings that will  extend more than 24 hours must be reported to 
ERCOT

### 8.6.4	Management of Resource Unplanned Outages

- Forced Outage definition

- Level 1 outage definition

  - Shut down of unit requires Coordination with ERCOT Shift Supervisor