ROS endorses the concept of dynamic rating of transmission facilities based on TSP recommended ratings varying with temperature .

Each TSP will be the sole authority on it's own transmission facility ratings. A task force will be formed of TSP’s and ERCOT staff and other interested market participants to review methodologies for varying ratings by temperature and layout a staged implementation plan for ROS to review. The plan development should consider economics and timeline to implement.

It is the intent of ROS that knowledge be shared between transmission providers regarding industry "best practice" within this task force.

The implementation plan should be complete within 180 days.