| OGRR Number | 130-OGRR | OGRR Title | Automatic Voltage Regulator (AVR) and Power System Stabilizers (PSS) Status Reporting Requirements |
| --- | --- | --- | --- |
| Operating Guide Section Requiring Revision |  | 2.2.4, 3.1.4.1 and 3.1.4.5 |  |
| Protocol Section Requiring Revision, if any. |  | ## N/A |  |
| Requested Recommendation |  | ## Approve as revised |  |
| Revision Description |  | Corrects AVR reference and inconsistent AVR / PSS status reporting requirements in the Operating Guides. Adds Protocol Reference 6.5.7 (9) to Operating Guide Section 2.2.4. |  |
| ###### Reason for Revision |  | Revision is meant to make Operating Guides consistent with Protocol 6.5.7 (9), which requires each QSE to “promptly inform ERCOT” when the QSE changes the status of the Generation Resource’s AVR or PSS. Current Operating Guides require notification by telephone in one section and an electronic message within 10 minutes in another. |  |

Proposed Operating Guide Language Revision

### Automatic Voltage Regulators And Power System Stabilizers

REFERENCE PROTOCOLS SECTION, 6.5.7

- A QSE’s Generation Resource shall operate with the unit’s automatic voltage regulator (AVR) in use unless specifically directed to operate in manual mode by ERCOT, or unless the QSE determines a need to operate in manual in emergency conditions.  When the QSE changes the mode, the QSE shall promptly inform ERCOT.  Any QSE-controlled power system stabilizers will be kept in service whenever possible.  QSE’s control centers will monitor the status of their regulator’s and stabilizers.

Generator automatic voltage regulators (AVR) and power system stabilizers (PSS) will be kept in service whenever possible.  Generation Resources (GR) shall notify their Qualified Scheduling Entity (QSE), who in turn will promptly notify the ERCOT Control Area Authority when a voltage regulator or stabilizer is taken out of service due to equipment maintenance or failure and when it is returned to normal operation.  ERCOT is responsible for notifying the appropriate TO of such AVR and PSS status changes.  QSEs shall supply AVR and PSS status logs to ERCOT upon request.

[EXCERPT BELOW FROM O.G. 3.1.4.1 PGC Data Reporting]

It is the responsibility of all generators to carry an operational share of reactive support to insure adequate and safe voltage profiles are maintained in all areas of ERCOT.  To accomplish this, the following requirements shall apply to each generation facility.

- Each generation facility shall have automatic voltage regulators and power system stabilizers in service as defined in Section 3.1.4.5 below.

#### 3.1.4.5	Automatic Voltage Regulators And Power System Stabilizers

Generator automatic voltage regulators and power system stabilizers will be kept in service whenever possible.  Generation Entities shall notify their QSE, who in turn will promptly notify the ERCOT Control Area Authority by telephone of the circumstances, when a voltage regulator or stabilizer is unavailable due to maintenance or failure and when it is  returned to normal operation .

| ## Other TAC Subcommittee Review |  |
| --- | --- |
| PRS Review Date |  |
| PRS Protocols Impact Decision |  |
| WMS Review Date |  |
| RMS Review Date |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |