| OGRR Number | 135OGRR | OGRR Title | Revision due to PRR 380 Black Start Service |
| --- | --- | --- | --- |
| Status | Administrative Change |
| Operating Guide Section Requiring Revision | Section 4.6, Black Start |
| Protocol Section Revised | Section 22A, Black Start Agreement |
| Revision Description | Administrative change to maintain Operating Guide consistency with Protocols as allowed by Operating Guide Section 1.3 Change Control Process. |
| Reason for Revision | ERCOT Board approved PRR 380 on March 18, 2003, effective April 1, 2003. |
| Sponsor |
| Name | OGRTF |
| E-mail Address | OGRTF@ercot.com |
| Timeline |
| Date OGRR Received | 06/18/03 |
| Date OGRR Posted | 06/19/03 |

Operating Guide Language Revision

Reference as revised from PRR380

Reference:  Protocols, Section 22A, Black Start Agreement

If the ERCOT Transmission Grid at the Black Start Resource becomes deenergized and if Participant cannot communicate with either ERCOT or the TDSP serving the Black Start Resource, then Participant shall follow the procedures specified for the Black Start Resource under ERCOT’s Black Start Plan in the Operating Guides, but Participant shall not commence delivering electric energy into the ERCOT System without specific instructions to do so from either ERCOT or the TDSP serving the Black Start Resource.

“Available” means, with respect to a given hour, that Participant has declared, in its Availability Plan, that the Black Start Resource is able to black start without a connection to the ERCOT Transmission Grid. The Black Start Resource will not be considered “Available” from the time the Black Start Resource fails the Black Start Test to the time the Black Start Resource passes the Black Start Test, as defined in the Operating Guides.