| PRR Number | 399PRR | PRR Title | Requirements for Replacing an IDR with a Non- IDR Meter |
| --- | --- | --- | --- |
| ###### Date |  | 05/28/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Ernie Podraza |  |
| E-mail Address |  | epodraza@reliant.com |  |
| Company |  | Chair of ERCOT Profiling Working Group |  |
| Company Address |  | 1111 Louisiana, Houston, Texas 77002-5231 |  |
| Phone Number |  | 713-497-5295 |  |
| Fax Number |  | 713-497-9878 |  |

Comments

The following are the changes suggested by the PWG at the 5/28/03 meeting and the PWG conference call of 6/4/03 to be submitted at the RMS meeting of 6/12/03. The PWG suggestions are highlighted in blue.

The PWG has consensus on the blue highlighted areas below, however there is a wide difference of opinion on section (7) a. below.

The opinions are:

- There is no consensus on the Kw limit where opinions range from 10 to 200 Kw, or limited to those premises which would be assigned a Business No Demand profile.

- That this PRR should be tabled until the resolution of PUCT Project 27244.

- An IDR can be installed but settled on a non-IDR profile.

- Do not remove an IDR to preserve the accuracy of settlement, which supports current Protocols.

- If a premise changes ownership, then the new customer can choose if the IDR meter is appropriate with the new owner’s load.

- Perhaps there needs to be an IDR task force of RMS to review all IDR issues including the 1000 Kw Protocol threshold and all the above issues, in lieu of PRR399.

Proposed Protocol Language Revision

### 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Requirement:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Requirement.  Except as stated in item (4) or (7) of this subsection, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given premise shall continue to be settled with its interval data, except as stated in item (7) of this subsection.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Requirement.  These loads shall be settled using Load Profiles.

- For premises not subject to the IDR Requirement in item (1) of this subsection, IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT regions shall install IDR metering capable of measuring the load served during the period the Load transfer is implemented.

- Requirements for Replacing IDR with Non-IDR Metering:

For a premise where an IDR meter already exists and neither sections (1a) nor (1b) apply, then the following criteria must be satisfied to replace the IDR with a Non-IDR meter:

  - The Peak Demand is equal to or less than 200 kW (or 200 kVa) for a period of twelve (12) consecutive months.

  - A Non-IDR meter installed to replace an existing IDR settlement meter must remain as a Non-IDR metered premise for a minimum of 1 year provided the premise does not meet the criteria in section (1a) or (1b).

  - The TDSP must receive prior approval from the CR of record to remove an IDR meter.

### 18.6.6 Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level for the IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, the demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak demand in the “price to beat” rulemaking, the following application shall be used in determining the peak demand level for IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement:

A Premise (ESI ID) has a peak demand greater than 1000 kW when a demand greater than 1000 kW has been measured in any two (2) billing months of the most recent twelve (12) month period. .  If an IDR meter has been installed for a premise (ESI ID) where the peak demand is found to be equal to or less than 200 kW (or 200 kVa) for a period of twelve (12) consecutive months, the IDR metermay be replaced with a Non-IDR meter.  Competitive Retailers may dispute an IDR assignment through the ERCOT settlement dispute process, described in Section 9.5 Settlement and Billing Dispute Process.

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.