# ROS report to TAC for July 2nd 2003 meeting

……………………..OGRR’s………………………

| OGRR Number | 129OGRR | OGRR Title | Transmission Operator (TO) / TDSP Emergency Communication |
| --- | --- | --- | --- |

Adds requirement for Transmission Operators to notify the appropriate TDSPs of ERCOT declared emergency events.

| OGRR Number | 130-OGRR | OGRR Title | Automatic Voltage Regulator (AVR) and Power System Stabilizers (PSS) Status Reporting Requirements |
| --- | --- | --- | --- |

Revision is meant to make Operating Guides consistent with Protocol 6.5.7 (9), which requires each QSE to “promptly inform ERCOT” when the QSE changes the status of the Generation Resource’s AVR or PSS.

| OGRR Number | 131OGRR | OGRR Title | LaaR Qualification Procedure for Responsive Reserve Service, Non-Spin Service, and Replacement Reserve Service. |
| --- | --- | --- | --- |

Specifies LaaR requirements to qualify as a provider of Responsive Reserve Service, Non-Spin Service, and Replacement Reserve Service. Fulfills requirement of Protocol 6.10.1 that specifies ancillary service qualification programs will be approved by the Technical Advisory Committee and will be included in the Operating Guides.

| OGRR Number | 134OGRR | OGRR Title | Calculation of Transmission Equipment Limits |
| --- | --- | --- | --- |

Defines equipment ratings for TDSP’s facilities and ERCOT’s use of the ratings.

………….…….…….ROS Activities…………………

PDCWG - The PDCWG was directed to draft a procedure related to how AVR performance would be monitored.  Data is to be collected during system disturbances in order to verify AVR performance.

PDCWG  - It was suggested that the PDCWG review the System Operations Report and recommend any changes to the report.

SSWG    - The SSWG was directed, by the next ROS Meeting, to arrive at a method of keeping track of the Continuous, Emergency, and 15-Minute Ratings for Market use in the public cases (Case A) and keep track of the continuous line and transformer ratings for planning use.

SSWG – ROS directed the SSWG to make Rate A and Rate B as consistent with operations and OGRR 134 as possible .

DYNAMIC RATINGS TF - ROS endorses the concept of dynamic ratings for transmission facilities based on TSP recommended ratings that vary with temperature.  Each TSP will be the sole authority on its own transmission facility ratings.  A task force will be formed of TSP and ERCOT Staff and other ERCOT Market Participants to review methodologies for transmission facility ratings that vary by temperature and develop a staged implementation plan for ROS to review.  The plan development should consider economics and the timeline to implement.  It is the intent of the ROS that knowledge be shared between transmission providers regarding industry “best practices” within this task force.  The implementation plan should be complete within 180 days and should target January 1, 2005.

SYSPROTWG The SYSPROTWG was asked to conduct a survey of TDSPs’ under-frequency relays so that the accuracy of the under-frequency relays can be determined and recommend whether an accuracy standard is needed.

# Footnotes

Performance Disturbance Compliance Work Group

Steady State Work Group

System Protection Work Group