| PRR Number | 410PRR | PRR Title | Resource Obligations during BLT |
| --- | --- | --- | --- |
| ###### Recommended Action |  | Approve |  |
| Protocol Section Requiring Revision |  | 5.7.3, Scheduling and Operation of BLTs |  |
| Proposed Effective Date |  | ## September 1, 2003 |  |
| Priority and Rank Assigned |  | ## N/A |  |
| Summary of Impact Analysis |  | ## No impact to ERCOT computer systems. |  |
| Revision Description |  | Previously discussed concerns about operating Generation Resources while tied to non-ERCOT systems. This was discussed when the Block Load Transfer PRR was passed at TAC. |  |
| ###### Benefit |  | Specifically address a Generation Entity’s right to decide availability based on concerns of Jurisdiction, tariffs, or increase risk of assets when the transmission area the resource is connected to, is tied to a non-ERCOT system other than through a DC Tie. |  |
| ###### PRS Recommendation |  | Approve as revised. |  |

Proposed Protocol Language Revision

5.7.3	Scheduling & Operation of BLTs

The QSE of the Resource associated with a BLT Point will include that Resource in its Resource Plan.  The QSE will not be required to provide the real time data to ERCOT normally provided for Resources.  The Resource Plan shall reflect the availability of the resource, but ERCOT shall confirm its availability with the Non-ERCOT control area prior to issuing any dispatch instructions to the QSE and the TDSP.  Any energy delivered under such a dispatch instruction shall be treated as an OOME instruction to the QSE.

Generation Resources, connected to the ERCOT transmission area included in the BLT, are under no obligation, under the ERCOT Protocols, to provide Ancillary Services or any other services while that transmission area is connected to a non-ERCOT Control Area other than through a DC - Tie.

The QSE of the LSE assigned to the ESI ID associated with a BLT Point will include that load in its Balanced Schedules

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | No comment submitted. |
| ## Sponsor |  |
| Name | Henry Wood |
| E-mail Address | hwood@stec.org |
| Company | South Texas Electric Cooperative |
| Company Address | P.O. Box 119, Nursery Texas 77905 |
| Phone Number | 361-485-6304 |
| Fax Number | 361-575-6385 |

| Sponsor’s Revision Description | Previously discussed concerns about operating generation resources while tied to non-ERCOT systems. This was discussed when the Block Load Transfer PRR was passed at TAC. |
| --- | --- |
| ###### Sponsor’s Reason for Revision | Specifically address generators right to decide availability based on concerns of Jurisdiction, tariffs, or increase risk of assets when the transmission area the resource is connected to, is tied to a non-ERCOT system other than through a D.C. Tie. |